## Overview (3 Tools)
AFI Run: 260423_Zymo_Unknown_7 — 3-Tool Comparison: Kraken2 vs Centrifuge vs Minimap2 (Rickettsiales 16S)
⚠ 5 NTC controls (extraction conditions) ¦ 3 Not detected ¦ 3 Minimap2 SOLE signals ¦ NTC: K2+CT=0, MM=positive
|  | Kraken2 | Centrifuge | Minimap2 (Rickettsiales) | Combined Final
Sample | Type | Kraken2 (n targets) | Centrifuge (n targets) | Minimap2 (Rickettsiales) | Shared genera (K2 + CT) | N tools with signal | Rick Rescued? | Routine Call | Final Signal (genera after subtract)
▶ Clinical Samples (n=10)
09102301_S10 | CLINICAL | 2 | — | Detected (rescue — SOLE signal) | — | 1 | ✓ YES | Detected | — (0 genera after subtract) ¦ K2 only: Homo, Homo sapiens (host DNA — not clinical)
09301857_S1 | CLINICAL | 3 | 1 | Not detected | Streptococcus | 2 | No | Not detected | Streptococcus ¦ K2 only: Homo, Homo sapiens
09802034_S5 | CLINICAL | 6 | 6 | Detected (rescue) | Bradyrhizobium, Kocuria, Rothia | 2 | ✓ YES | Detected | Bradyrhizobium, Bradyrhizobium sp. WD16, Kocuria, Kocuria rhizophila, Rothia, Rothia aeria ¦ K2 only: Homo, Homo sapiens
11800575_S6 | CLINICAL | 2 | — | Detected (rescue — SOLE signal) | — | 1 | ✓ YES | Detected | — (0 genera after subtract) ¦ K2 only: Homo, Homo sapiens (host DNA — not clinical)
13400425_S4 | CLINICAL | 3 | 3 | Not detected | Streptococcus | 2 | No | Not detected | Mycoplasmopsis, Mycoplasmopsis felis, Streptococcus ¦ K2 only: Homo, Homo sapiens
16500857_S7 | CLINICAL | 11 | 8 | Detected (rescue) | Acinetobacter, Fluviibacter, Hydrocarboniphaga | 2 | ✓ YES | Detected | Acinetobacter, Fluviibacter, Fluviibacter phosphoraccumulans, Hydrocarboniphaga, Hydrocarboniphaga effusa, Staphylococcus aureus, Staphylococcus gallinarum, Staphylococcus hominis ¦ K2 only: Homo, Homo sapiens, Staphylococcus simiae
21201143_S3 | CLINICAL | 2 | — | Detected (rescue — SOLE signal) | — | 1 | ✓ YES | Detected | — (0 genera after subtract) ¦ K2 only: Homo, Homo sapiens (host DNA — not clinical)
22800296_S9 | CLINICAL | 6 | 4 | Not detected | Corynebacterium, Roseomonas | 2 | No | Not detected | Corynebacterium, Roseomonas, Staphylococcus epidermidis, Teichococcus cervicalis ¦ K2 only: Homo, Homo sapiens, Staphylococcus
23900573_S2 | CLINICAL | 7 | 6 | Detected (rescue) | Escherichia, Kocuria | 2 | ✓ YES | Detected | Deinococcus, Escherichia, Escherichia coli, Kocuria, Kocuria palustris, Staphylococcus hominis ¦ K2 only: Homo, Homo sapiens, Staphylococcus
25800718_S8 | CLINICAL | 12 | 12 | Detected (rescue) | Brachybacterium, Escherichia, Xanthomonas | 2 | ✓ YES | Detected | Brachybacterium, Brachybacterium ginsengisoli, Brachybacterium sp. GU-2, Candidatus Nanosynbacter, Escherichia, Escherichia coli, Euzebyella, Euzebyella marina, Rhodoluna, Thalassobaculum sp., Xanthomonas, Xanthomonas albilineans ¦ K2 only: Acidiphilium, Homo, Homo sapiens
▶ NTC Controls (n=5) — Extraction Condition Comparison
NTC1_ExDwEB | NTC | 0 | — | ⚠ Positive | ExDwEB (with extraction buffer) | — | — | NTC Reference | K2=0, CT=0 (clean) ¦ MM=Positive (background) ¦ Condition: ExDwEB (with extraction buffer)
NTC2_ExDw | NTC | 0 | — | ⚠ Positive | ExDw (extraction, downstream) | — | — | NTC Reference | K2=0, CT=0 (clean) ¦ MM=Positive (background) ¦ Condition: ExDw (extraction, downstream)
NTC3_ExEB | NTC | 0 | — | ⚠ Positive | ExEB (extraction + EB buffer) | — | — | NTC Reference | K2=0, CT=0 (clean) ¦ MM=Positive (background) ¦ Condition: ExEB (extraction + EB buffer)
NTC4_NExDw | NTC | 0 | — | ⚠ Positive | NExDw (no extraction, downstream) | — | — | NTC Reference | K2=0, CT=0 (clean) ¦ MM=Positive (background) ¦ Condition: NExDw (no extraction, downstream)
NTC5_NExEB | NTC | 0 | — | ⚠ Positive | NExEB (no extraction, EB buffer) | — | — | NTC Reference | K2=0, CT=0 (clean) ¦ MM=Positive (background) ¦ Condition: NExEB (no extraction, EB buffer)
▶ PC Control
PC_S11 | PC_MIX8 | 13 | 8 | Detected | All 8 expected genera | — | — | Detected | K2: +5 FP ¦ CT: 0 FP — exact match ✓
UNIQUE FEATURE: This run includes 5 NTC controls testing different extraction conditions (ExDwEB, ExDw, ExEB, NExDw, NExEB). All 5 NTCs: K2=0, CT=0 (clean), Minimap2=positive (background). Confirms extraction conditions do not significantly affect K2/CT background.

## Before Subtract — All Genera
Genera Detected BEFORE NTC Background Subtraction — All 3 Tools
Genus-level genera ¦ NTC: All 5 controls clean (K2=0, CT=0) ¦ Minimap2 positive in all 5 NTCs (background signal)
| Kraken2 |  | Centrifuge
Sample | Type | Minimap2 (before subtract) | Kraken2 genera (genus-level, before subtract) | Centrifuge genera (genus-level, before subtract)
▶ Clinical Samples (n=10) — Before NTC Subtraction
09102301_S10 | CLINICAL | Positive (alignment detected) | Homo (+ background genera shared with NTC) | No targets above NTC threshold (CT=0 genera after subtract)
09301857_S1 | CLINICAL | Not detected | Homo, Streptococcus (+ background genera shared with NTC) | Streptococcus (+ background genera shared with NTC)
09802034_S5 | CLINICAL | Positive (alignment detected) | Bradyrhizobium, Homo, Kocuria, Rothia (+ background genera shared with NTC) | Bradyrhizobium, Kocuria, Rothia (+ background genera shared with NTC)
11800575_S6 | CLINICAL | Positive (alignment detected) | Homo (+ background genera shared with NTC) | No targets above NTC threshold (CT=0 genera after subtract)
13400425_S4 | CLINICAL | Not detected | Homo, Streptococcus (+ background genera shared with NTC) | Mycoplasmopsis, Streptococcus (+ background genera shared with NTC)
16500857_S7 | CLINICAL | Positive (alignment detected) | Acinetobacter, Fluviibacter, Homo, Hydrocarboniphaga, Staphylococcus (+ background genera shared with NTC) | Acinetobacter, Fluviibacter, Hydrocarboniphaga (+ background genera shared with NTC)
21201143_S3 | CLINICAL | Positive (alignment detected) | Homo (+ background genera shared with NTC) | No targets above NTC threshold (CT=0 genera after subtract)
22800296_S9 | CLINICAL | Not detected | Corynebacterium, Homo, Roseomonas, Staphylococcus (+ background genera shared with NTC) | Corynebacterium, Roseomonas (+ background genera shared with NTC)
23900573_S2 | CLINICAL | Positive (alignment detected) | Escherichia, Homo, Kocuria, Staphylococcus (+ background genera shared with NTC) | Deinococcus, Escherichia, Kocuria (+ background genera shared with NTC)
25800718_S8 | CLINICAL | Positive (alignment detected) | Acidiphilium, Brachybacterium, Candidatus Nanosynbacter, Escherichia, Homo, Xanthomonas (+ background genera shared with NTC) | Brachybacterium, Candidatus Nanosynbacter, Escherichia, Euzebyella, Rhodoluna, Xanthomonas (+ background genera shared with NTC)
▶ NTC Controls (n=5) — All clean (K2=0, CT=0, MM=positive background)
NTC1_ExDwEB | NTC | Positive (background) | 0 genera — NTC background reference ¦ Condition: ExDwEB (with extraction buffer) | 0 genera — NTC background reference ¦ Condition: ExDwEB (with extraction buffer)
NTC2_ExDw | NTC | Positive (background) | 0 genera — NTC background reference ¦ Condition: ExDw (extraction, downstream) | 0 genera — NTC background reference ¦ Condition: ExDw (extraction, downstream)
NTC3_ExEB | NTC | Positive (background) | 0 genera — NTC background reference ¦ Condition: ExEB (extraction + EB buffer) | 0 genera — NTC background reference ¦ Condition: ExEB (extraction + EB buffer)
NTC4_NExDw | NTC | Positive (background) | 0 genera — NTC background reference ¦ Condition: NExDw (no extraction, downstream) | 0 genera — NTC background reference ¦ Condition: NExDw (no extraction, downstream)
NTC5_NExEB | NTC | Positive (background) | 0 genera — NTC background reference ¦ Condition: NExEB (no extraction, EB buffer) | 0 genera — NTC background reference ¦ Condition: NExEB (no extraction, EB buffer)
▶ PC Control
PC_S11 | PC_MIX8 | Positive (expected) | Bacillus (9 sp.), Citrobacter, Clostridium, Enterobacter, Enterococcus (2 sp.), Escherichia, Heyndrickxia, Klebsiella, Limosilactobacillus, Listeria (3 sp.), Pseudomonas, Salmonella, Staphylococcus (5 sp.) | Bacillus (6 sp.), Enterococcus (1 sp.), Escherichia (1 sp.), Limosilactobacillus (1 sp.), Listeria (1 sp.), Pseudomonas (1 sp.), Salmonella (1 sp.), Staphylococcus (1 sp.)

## After Subtract — All Genera
Genera Detected AFTER NTC Background Subtraction — All 3 Tools (Genus + Species Level)
RED = Not detected ¦ AMBER = SOLE Minimap2 signal ¦ ⚠ 3 Not detected, 3 SOLE Minimap2 in this run
| Kraken2 |  | Centrifuge |  | Minimap2 | Shared K2+CT
Sample | Type | K2 (n) | Kraken2 genera + species (after subtract) | Centrifuge genera + species (after subtract) | Minimap2 result (after subtract) | Shared K2+CT (confirmed genera) | N tools | Routine Call
▶ Clinical Samples (n=10) — After NTC Subtraction
09102301_S10 | CLINICAL | K2:2 CT:0 | Homo, Homo sapiens | — (0 genera after subtract) | Rickettsiales (SOLE detection signal; ⚠ NTC also positive) | — | 1 | Detected
09301857_S1 | CLINICAL | K2:3 CT:1 | Homo, Homo sapiens, Streptococcus | Streptococcus | — | Streptococcus | 2 | Not detected
09802034_S5 | CLINICAL | K2:6 CT:6 | Bradyrhizobium, Homo, Homo sapiens, Kocuria, Rothia, Rothia aeria | Bradyrhizobium, Bradyrhizobium sp. WD16, Kocuria, Kocuria rhizophila, Rothia, Rothia aeria | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Bradyrhizobium, Kocuria, Rothia | 2 | Detected
11800575_S6 | CLINICAL | K2:2 CT:0 | Homo, Homo sapiens | — (0 genera after subtract) | Rickettsiales (SOLE detection signal; ⚠ NTC also positive) | — | 1 | Detected
13400425_S4 | CLINICAL | K2:3 CT:3 | Homo, Homo sapiens, Streptococcus | Mycoplasmopsis, Mycoplasmopsis felis, Streptococcus | — | Streptococcus | 2 | Not detected
16500857_S7 | CLINICAL | K2:11 CT:8 | Acinetobacter, Fluviibacter, Fluviibacter phosphoraccumulans, Homo, Homo sapiens, Hydrocarboniphaga, Hydrocarboniphaga effusa, Staphylococcus, Staphylococcus gallinarum, Staphylococcus hominis, Staphylococcus simiae | Acinetobacter, Fluviibacter, Fluviibacter phosphoraccumulans, Hydrocarboniphaga, Hydrocarboniphaga effusa, Staphylococcus aureus, Staphylococcus gallinarum, Staphylococcus hominis | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Acinetobacter, Fluviibacter, Hydrocarboniphaga | 2 | Detected
21201143_S3 | CLINICAL | K2:2 CT:0 | Homo, Homo sapiens | — (0 genera after subtract) | Rickettsiales (SOLE detection signal; ⚠ NTC also positive) | — | 1 | Detected
22800296_S9 | CLINICAL | K2:6 CT:4 | Corynebacterium, Homo, Homo sapiens, Roseomonas, Staphylococcus, Teichococcus cervicalis | Corynebacterium, Roseomonas, Staphylococcus epidermidis, Teichococcus cervicalis | — | Corynebacterium, Roseomonas | 2 | Not detected
23900573_S2 | CLINICAL | K2:7 CT:6 | Escherichia, Escherichia coli, Homo, Homo sapiens, Kocuria, Kocuria palustris, Staphylococcus | Deinococcus, Escherichia, Escherichia coli, Kocuria, Kocuria palustris, Staphylococcus hominis | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Escherichia, Kocuria | 2 | Detected
25800718_S8 | CLINICAL | K2:12 CT:12 | Acidiphilium, Brachybacterium, Brachybacterium sp. GPGPB12, Brachybacterium sp. NBEC-018, Brachybacterium sp. Z12, Candidatus Nanosynbacter, Escherichia, Escherichia coli, Homo, Homo sapiens, Xanthomonas, Xanthomonas albilineans | Brachybacterium, Brachybacterium ginsengisoli, Brachybacterium sp. GU-2, Candidatus Nanosynbacter, Escherichia, Escherichia coli, Euzebyella, Euzebyella marina, Rhodoluna, Thalassobaculum sp., Xanthomonas, Xanthomonas albilineans | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Brachybacterium, Escherichia, Xanthomonas | 2 | Detected
▶ NTC Controls (n=5) — All tools clean (K2=0, CT=0) ¦ Minimap2 positive (background)
NTC1_ExDwEB | NTC | K2:0 CT:0 | — (background reference; K2=0 = clean pass) | — (background reference; CT=0 = clean pass) | Rickettsiales background signal — defines NTC threshold | Condition: ExDwEB (with extraction buffer) | — | NTC Reference ✓
NTC2_ExDw | NTC | K2:0 CT:0 | — (background reference; K2=0 = clean pass) | — (background reference; CT=0 = clean pass) | Rickettsiales background signal — defines NTC threshold | Condition: ExDw (extraction, downstream) | — | NTC Reference ✓
NTC3_ExEB | NTC | K2:0 CT:0 | — (background reference; K2=0 = clean pass) | — (background reference; CT=0 = clean pass) | Rickettsiales background signal — defines NTC threshold | Condition: ExEB (extraction + EB buffer) | — | NTC Reference ✓
NTC4_NExDw | NTC | K2:0 CT:0 | — (background reference; K2=0 = clean pass) | — (background reference; CT=0 = clean pass) | Rickettsiales background signal — defines NTC threshold | Condition: NExDw (no extraction, downstream) | — | NTC Reference ✓
NTC5_NExEB | NTC | K2:0 CT:0 | — (background reference; K2=0 = clean pass) | — (background reference; CT=0 = clean pass) | Rickettsiales background signal — defines NTC threshold | Condition: NExEB (no extraction, EB buffer) | — | NTC Reference ✓
▶ PC Control
PC_S11 | PC_MIX8 | K2:13 CT:8 | Bacillus, Citrobacter, Clostridium, Enterobacter, Enterococcus, Escherichia, Heyndrickxia, Klebsiella, Limosilactobacillus, Listeria, Pseudomonas, Salmonella, Staphylococcus | Bacillus, Enterococcus, Escherichia, Limosilactobacillus, Listeria, Pseudomonas, Salmonella, Staphylococcus | Rickettsiales (expected in Zymo standard mix) | Bacillus, Enterococcus, Escherichia, Limosilactobacillus, Listeria, Pseudomonas, Salmonella, Staphylococcus | 2 | Detected
All 5 NTCs: K2=0, CT=0 — clean pass. Minimap2 positive in all 5 NTCs — background Rickettsiales consistent across all extraction conditions. No extraction condition produces higher background.

## Per-Sample Detail
Per-Sample Genera Detail: Before and After NTC Subtraction — All 3 Tools
Complete genus+species listing per sample ¦ Bold genera = confirmed by both Kraken2 and Centrifuge
⚠ SOLE MINIMAP2 — 09102301_S10 — Routine Call: Detected |  |  | Minimap2: Detected (rescue — SOLE signal)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Homo (+ background genera shared with NTC) | No targets above NTC threshold (CT=0 genera after subtract)
AFTER subtract | 2 | 0 | Homo, Homo sapiens | — (0 genera after subtract)
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (SOLE detection signal; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | — No shared genera
Notes: ⚠ Minimap2 SOLE signal. CT=0 genera; K2=Homo only. Without Minimap2 rescue this sample would be Not detected.
⚠ NOT DETECTED — 09301857_S1 — Routine Call: Not detected |  |  | Minimap2: Not detected
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Homo, Streptococcus (+ background genera shared with NTC) | Streptococcus (+ background genera shared with NTC)
AFTER subtract | 3 | 1 | Homo, Homo sapiens, Streptococcus | Streptococcus
Minimap2 (Rickettsiales 16S) |  |  | —
Shared (K2 + CT) |  |  | Streptococcus — confirmed by both classifiers
Notes: ⚠ Not detected (routine call). Streptococcus confirmed by both K2 and CT — but detection criteria not met. K2 retains Homo. No Minimap2 signal. Clinical significance of lone Streptococcus unclear.
09802034_S5 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Bradyrhizobium, Homo, Kocuria, Rothia (+ background genera shared with NTC) | Bradyrhizobium, Kocuria, Rothia (+ background genera shared with NTC)
AFTER subtract | 6 | 6 | Bradyrhizobium, Homo, Homo sapiens, Kocuria, Rothia, Rothia aeria | Bradyrhizobium, Bradyrhizobium sp. WD16, Kocuria, Kocuria rhizophila, Rothia, Rothia aeria
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Bradyrhizobium, Kocuria, Rothia — confirmed by both classifiers
Notes: 3 genera confirmed by both. Both detect Rothia aeria and Kocuria at species level. K2 retains Homo. Minimap2 rescue applied.
⚠ SOLE MINIMAP2 — 11800575_S6 — Routine Call: Detected |  |  | Minimap2: Detected (rescue — SOLE signal)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Homo (+ background genera shared with NTC) | No targets above NTC threshold (CT=0 genera after subtract)
AFTER subtract | 2 | 0 | Homo, Homo sapiens | — (0 genera after subtract)
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (SOLE detection signal; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | — No shared genera
Notes: ⚠ Minimap2 SOLE signal. CT=0 genera; K2=Homo only. Without Minimap2 rescue this sample would be Not detected.
⚠ NOT DETECTED — 13400425_S4 — Routine Call: Not detected |  |  | Minimap2: Not detected
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Homo, Streptococcus (+ background genera shared with NTC) | Mycoplasmopsis, Streptococcus (+ background genera shared with NTC)
AFTER subtract | 3 | 3 | Homo, Homo sapiens, Streptococcus | Mycoplasmopsis, Mycoplasmopsis felis, Streptococcus
Minimap2 (Rickettsiales 16S) |  |  | —
Shared (K2 + CT) |  |  | Streptococcus — confirmed by both classifiers
Notes: ⚠ Not detected. Streptococcus confirmed by both K2 and CT. CT adds Mycoplasmopsis felis (feline Mycoplasma — likely environmental, no clinical significance in human samples). No Minimap2 signal.
16500857_S7 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Acinetobacter, Fluviibacter, Homo, Hydrocarboniphaga, Staphylococcus (+ background genera shared with NTC) | Acinetobacter, Fluviibacter, Hydrocarboniphaga (+ background genera shared with NTC)
AFTER subtract | 11 | 8 | Acinetobacter, Fluviibacter, Fluviibacter phosphoraccumulans, Homo, Homo sapiens, Hydrocarboniphaga, Hydrocarboniphaga effusa, Staphylococcus, Staphylococcus gallinarum, Staphylococcus hominis, Staphylococcus simiae | Acinetobacter, Fluviibacter, Fluviibacter phosphoraccumulans, Hydrocarboniphaga, Hydrocarboniphaga effusa, Staphylococcus aureus, Staphylococcus gallinarum, Staphylococcus hominis
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Acinetobacter, Fluviibacter, Hydrocarboniphaga — confirmed by both classifiers
Notes: 3 shared genera confirmed including species-level agreement on Fluviibacter phosphoraccumulans and Hydrocarboniphaga effusa. Both detect multiple Staphylococcus species (S. gallinarum, S. hominis). CT detects S. aureus (clinically significant). K2 retains Homo. Minimap2 rescue applied.
⚠ SOLE MINIMAP2 — 21201143_S3 — Routine Call: Detected |  |  | Minimap2: Detected (rescue — SOLE signal)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Homo (+ background genera shared with NTC) | No targets above NTC threshold (CT=0 genera after subtract)
AFTER subtract | 2 | 0 | Homo, Homo sapiens | — (0 genera after subtract)
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (SOLE detection signal; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | — No shared genera
Notes: ⚠ Minimap2 SOLE signal. CT=0 genera; K2=Homo only. Without Minimap2 rescue this sample would be Not detected. 3rd Minimap2 SOLE signal sample in this run.
⚠ NOT DETECTED — 22800296_S9 — Routine Call: Not detected |  |  | Minimap2: Not detected
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Corynebacterium, Homo, Roseomonas, Staphylococcus (+ background genera shared with NTC) | Corynebacterium, Roseomonas (+ background genera shared with NTC)
AFTER subtract | 6 | 4 | Corynebacterium, Homo, Homo sapiens, Roseomonas, Staphylococcus, Teichococcus cervicalis | Corynebacterium, Roseomonas, Staphylococcus epidermidis, Teichococcus cervicalis
Minimap2 (Rickettsiales 16S) |  |  | —
Shared (K2 + CT) |  |  | Corynebacterium, Roseomonas — confirmed by both classifiers
Notes: ⚠ Not detected. Corynebacterium and Roseomonas confirmed by both. CT detects Staphylococcus epidermidis and Teichococcus cervicalis (unusual genus). No Minimap2 signal. Detection criteria not met.
23900573_S2 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Escherichia, Homo, Kocuria, Staphylococcus (+ background genera shared with NTC) | Deinococcus, Escherichia, Kocuria (+ background genera shared with NTC)
AFTER subtract | 7 | 6 | Escherichia, Escherichia coli, Homo, Homo sapiens, Kocuria, Kocuria palustris, Staphylococcus | Deinococcus, Escherichia, Escherichia coli, Kocuria, Kocuria palustris, Staphylococcus hominis
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Escherichia, Kocuria — confirmed by both classifiers
Notes: Escherichia coli and Kocuria palustris confirmed (species-level). CT uniquely detects Deinococcus (radiation-resistant, unusual finding). Both detect Staphylococcus at species level (K2=genus, CT=S. hominis). K2 retains Homo. Minimap2 rescue applied.
25800718_S8 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Acidiphilium, Brachybacterium, Candidatus Nanosynbacter, Escherichia, Homo, Xanthomonas (+ background genera shared with NTC) | Brachybacterium, Candidatus Nanosynbacter, Escherichia, Euzebyella, Rhodoluna, Xanthomonas (+ background genera shared with NTC)
AFTER subtract | 12 | 12 | Acidiphilium, Brachybacterium, Brachybacterium sp. GPGPB12, Brachybacterium sp. NBEC-018, Brachybacterium sp. Z12, Candidatus Nanosynbacter, Escherichia, Escherichia coli, Homo, Homo sapiens, Xanthomonas, Xanthomonas albilineans | Brachybacterium, Brachybacterium ginsengisoli, Brachybacterium sp. GU-2, Candidatus Nanosynbacter, Escherichia, Escherichia coli, Euzebyella, Euzebyella marina, Rhodoluna, Thalassobaculum sp., Xanthomonas, Xanthomonas albilineans
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Brachybacterium, Escherichia, Xanthomonas — confirmed by both classifiers
Notes: 3 shared genera confirmed including Xanthomonas albilineans (species, plant pathogen). CT detects Euzebyella marina (marine organism), Rhodoluna and Thalassobaculum — unusual environmental profile. K2 detects Acidiphilium (acid-tolerant). Complex environmental microbiome. Minimap2 rescue applied.

## Minimap2 + NTC Analysis
Minimap2 Rickettsiales 16S + 5-NTC Analysis — 260423_Zymo_Unknown_7
7/10 Detected ¦ 3 SOLE Minimap2 signals ¦ 3 Not detected ¦ 5 NTCs: K2+CT=0 across all extraction conditions
Sample | Type | Kraken2 (any signal?) | Centrifuge (any signal?) | Minimap2 (Rickettsiales) | Rescue Applied? | Note
09102301_S10 | CLINICAL | ✓ | — | ✓ Detected | ✓ YES | ⚠ SOLE signal. CT=0, K2=Homo only. Without Minimap2 = Not detected.
09301857_S1 | CLINICAL | ✓ | ✓ | Not detected | No | ⚠ Not detected. Streptococcus confirmed by both K2+CT but criteria not met. No Minimap2 signal.
09802034_S5 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | 3 shared genera (Bradyrhizobium, Kocuria, Rothia). Minimap2 rescue applied.
11800575_S6 | CLINICAL | ✓ | — | ✓ Detected | ✓ YES | ⚠ SOLE signal. CT=0, K2=Homo only. Without Minimap2 = Not detected.
13400425_S4 | CLINICAL | ✓ | ✓ | Not detected | No | ⚠ Not detected. Streptococcus confirmed by both. CT adds Mycoplasmopsis felis (feline, environmental). No Minimap2.
16500857_S7 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | 3 shared genera including Fluviibacter phosphoraccumulans. CT detects Staphylococcus aureus.
21201143_S3 | CLINICAL | ✓ | — | ✓ Detected | ✓ YES | ⚠ SOLE signal. CT=0, K2=Homo only. 3rd SOLE signal in this run. Without Minimap2 = Not detected.
22800296_S9 | CLINICAL | ✓ | ✓ | Not detected | No | ⚠ Not detected. Corynebacterium + Roseomonas confirmed by both. CT adds Teichococcus cervicalis. No Minimap2.
23900573_S2 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Escherichia coli + Kocuria palustris confirmed. CT detects Deinococcus (unusual). Minimap2 rescue.
25800718_S8 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | 3 shared genera. Complex microbiome: CT detects Euzebyella marina, Rhodoluna (marine organisms).
▶ NTC Controls — Extraction Condition Comparison (all K2=0, CT=0, Minimap2=positive)
NTC ID | Extraction Condition | K2 result | CT result | Minimap2 | K2+CT pass? | Interpretation
NTC1_ExDwEB | With extraction buffer (ExDwEB) | 0 genera ✓ | 0 genera ✓ | Positive (background) | PASS ✓ | Extraction condition does not affect K2/CT background. Minimap2 background consistent across all conditions.
NTC2_ExDw | Extraction downstream (ExDw) | 0 genera ✓ | 0 genera ✓ | Positive (background) | PASS ✓ | Extraction condition does not affect K2/CT background. Minimap2 background consistent across all conditions.
NTC3_ExEB | Extraction + EB buffer (ExEB) | 0 genera ✓ | 0 genera ✓ | Positive (background) | PASS ✓ | Extraction condition does not affect K2/CT background. Minimap2 background consistent across all conditions.
NTC4_NExDw | No extraction, downstream (NExDw) | 0 genera ✓ | 0 genera ✓ | Positive (background) | PASS ✓ | Extraction condition does not affect K2/CT background. Minimap2 background consistent across all conditions.
NTC5_NExEB | No extraction, EB buffer (NExEB) | 0 genera ✓ | 0 genera ✓ | Positive (background) | PASS ✓ | Extraction condition does not affect K2/CT background. Minimap2 background consistent across all conditions.
KEY FINDING: All 5 NTCs (different extraction conditions) show identical pattern: K2=0, CT=0 (clean), Minimap2=positive (background). This confirms that the Rickettsiales background signal in Minimap2 is not affected by extraction method — it is an inherent background signal.
⚠ 3 Not detected samples (09301857, 13400425, 22800296): All have signal in K2+CT (Streptococcus and/or other genera) but no Minimap2 signal and detection criteria not met.
⚠ 3 SOLE Minimap2 signals (09102301, 11800575, 21201143): CT=0, K2=Homo only in all 3. Without Minimap2 these would all be Not detected.

## Summary Statistics
Summary Statistics — 260423_Zymo_Unknown_7: 3-Tool Comparison
Clinical n=10 ¦ 5 NTC controls ¦ K2=Kraken2 CT=Centrifuge MM=Minimap2 (Rickettsiales 16S)
Metric | Kraken2 | Centrifuge | Minimap2 (Rickettsiales) | Notes
▶ After NTC Subtraction — clinical (n=10)
Mean genera/sample after subtract | 5.4 | 4 | Binary
Median genera/sample after subtract | 4.5 | 3.5 | Binary
Max genera single sample | 12 | 12 | N/A | 25800718_S8 (K2=12, CT=12)
Samples with CT=0 after subtract | — | 3 | — | 09102301, 11800575, 21201143 — Minimap2 SOLE in all 3
▶ Host DNA (Homo sapiens) leakage
Samples with Homo sapiens after subtract | 10/10 | 0/10 | N/A | K2 retains Homo in ALL 10 samples; CT never reports Homo
▶ Minimap2 Rickettsiales
Rickettsiales detected (any) | — | — | 7/10 | 09301857, 13400425, 22800296 = Not detected (no Minimap2)
Samples rescued by Minimap2 | — | — | 7/10 | All 7 Detected samples received Minimap2 evidence
Minimap2 SOLE signal (CT=0) | — | — | 3/10 | 09102301, 11800575, 21201143 — highest SOLE count across runs
Routine Detected | — | — | 7/10 | 3 Not detected: 09301857, 13400425, 22800296
▶ 5-NTC extraction condition comparison
All 5 NTCs: K2+CT result | 0 ✓ | 0 ✓ | Positive (all 5) | Consistent across ExDwEB, ExDw, ExEB, NExDw, NExEB — extraction condition does not affect background
▶ PC_MIX8 control (PC_S11) — expected: 8 genera (standard Zymo — no Salicibibacter/Shouchella)
PC_S11 total genera after subtract | 13 | 8 | Detected | K2: +5 FP. CT: exact match ✓
PC_S11 false positive genera | +5 FP | 0 FP ✓ | — | K2 FP: Citrobacter, Clostridium, Enterobacter, Heyndrickxia, Klebsiella
▶ Key Findings
1. 7/10 clinical samples Detected. 3 Not detected (09301857, 13400425, 22800296) — all have some K2+CT signal but no Minimap2 and criteria not met.
2. 3 Minimap2 SOLE signals — highest count across all runs. 09102301, 11800575, 21201143: CT=0 genera in all three. Without Minimap2 these would be Not detected.
3. ★ UNIQUE: 5 NTC controls tested different extraction conditions (ExDwEB, ExDw, ExEB, NExDw, NExEB). All 5: K2=0, CT=0 (clean), Minimap2=positive. Extraction condition does not affect classifier background.
4. Not detected pattern: 09301857 and 13400425 both have Streptococcus in K2+CT. 22800296 has Corynebacterium+Roseomonas. Detection criteria not met in all 3 (no Minimap2 signal).
5. CT detects Staphylococcus aureus in 16500857_S7 (species-level); clinically significant pathogen. K2 misses this species (detects S. gallinarum, S. hominis, S. simiae instead).
6. 25800718_S8: Complex marine microbiome profile. CT detects Euzebyella marina, Rhodoluna, Thalassobaculum — unusual environmental organisms. Xanthomonas albilineans confirmed (plant pathogen).
7. PC_MIX8 returns to standard 8-genera Zymo (no Salicibibacter/Shouchella). K2 FP=5 (improved vs prior runs). CT exact match.
8. K2 retains Homo in all 10 samples. CT=0 Homo. Persistent pattern across all 7 runs.
9. Recommendation: Centrifuge + Minimap2 rescue remains optimal pipeline. The 5-NTC extraction experiment confirms background is stable across conditions.

## PC_MIX8 Control
PC_MIX8 Control (PC_S11) — 260423_Zymo_Unknown_7
Standard Zymo 8 genera (no Salicibibacter/Shouchella in this run). Centrifuge: 0 FP — perfect match.
Genus | Expected? | Kraken2 (after subtract) | Centrifuge (after subtract)
Bacillus | ✓ Expected | Detected ✓ | Detected ✓
Citrobacter | ✗ Unexpected | FP ✗ | Not detected
Clostridium | ✗ Unexpected | FP ✗ | Not detected
Enterobacter | ✗ Unexpected | FP ✗ | Not detected
Enterococcus | ✓ Expected | Detected ✓ | Detected ✓
Escherichia | ✓ Expected | Detected ✓ | Detected ✓
Heyndrickxia | ✗ Unexpected | FP ✗ | Not detected
Klebsiella | ✗ Unexpected | FP ✗ | Not detected
Limosilactobacillus | ✓ Expected | Detected ✓ | Detected ✓
Listeria | ✓ Expected | Detected ✓ | Detected ✓
Pseudomonas | ✓ Expected | Detected ✓ | Detected ✓
Salmonella | ✓ Expected | Detected ✓ | Detected ✓
Staphylococcus | ✓ Expected | Detected ✓ | Detected ✓
SUMMARY — Kraken2: 13 genera (5 FP, 0 FN) ¦ Centrifuge: 8 genera (0 FP, 0 FN) — PERFECT MATCH ✓

## Legend & Methods
Legend & Methods — 260423_Zymo_Unknown_7 (3-Tool Report)
RUN INFORMATION
Run ID: 260423_Zymo_Unknown_7 ¦ Run Date: April 23, 2025
Clinical samples: n=10 ¦ Controls: 5 NTC (NTC1–NTC5, extraction conditions) + PC_S11 (PC_MIX8, standard 8-genera Zymo)
UNIQUE FEATURE: 5-NTC EXTRACTION EXPERIMENT
This run tests 5 different NTC extraction conditions to assess background variability.
NTC1_ExDwEB: Extraction with buffer ¦ NTC2_ExDw: Extraction downstream ¦ NTC3_ExEB: Extraction + EB buffer
NTC4_NExDw: No extraction, downstream ¦ NTC5_NExEB: No extraction, EB buffer
RESULT: All 5 NTCs: K2=0, CT=0 (clean), Minimap2=positive (background). Extraction condition does not affect K2/CT background.
KEY FINDINGS FOR THIS RUN
3 Not detected: 09301857_S1, 13400425_S4, 22800296_S9
3 Minimap2 SOLE signals (highest across all runs): 09102301, 11800575, 21201143
CT detects Staphylococcus aureus in 16500857_S7 — clinically significant
Mycoplasmopsis felis in CT for 13400425_S4 — feline pathogen, likely environmental residual
PC_MIX8: Standard 8 genera (no Salicibibacter/Shouchella unlike run 260428)
THREE TOOLS USED
Kraken2 (K2): k-mer based classifier using 16GB database
Centrifuge (CT): compressed FM-index classifier — higher specificity than Kraken2
Minimap2 (MM): targeted alignment to Rickettsiales 16S reference — rescue tool
COLOUR CODING
Green = better / correct detection / lower noise
Red = worse / Not detected / false positive / host DNA leakage
Amber = SOLE Minimap2 signal / unusual finding / caution
Grey = CT 0 genera
PC_MIX8 EXPECTED GENERA (standard Zymo — 8 genera)
Bacillus, Enterococcus, Escherichia, Limosilactobacillus, Listeria, Pseudomonas, Salmonella, Staphylococcus
Note: Salicibibacter and Shouchella (seen in run 260428) are NOT present in this run's Zymo standard.