## Overview (3 Tools)
AFI Run: 260331_Zymo_Unknown_1 — 3-Tool Comparison: Kraken2 vs Centrifuge vs Minimap2 (Rickettsiales 16S)
After NTC background subtraction ¦ Minimap2 = targeted Rickettsiales 16S alignment ¦ n = targets passing NTC threshold
|  | Kraken2 | Centrifuge | Minimap2 (Rickettsiales) | Combined Final
Sample | Type | Kraken2 (n targets) | Centrifuge (n targets) | Minimap2 (Rickettsiales) | Shared genera (K2 + CT) | N tools with signal | Rick Rescued? | Routine Call | Final Signal (genera after subtract)
▶ Clinical Samples (n=10)
09000468_S8 | CLINICAL | 2 | 2 | Detected (rescue) | — | 2 | ✓ YES | Detected | Agrobacterium, Agrobacterium tumefaciens ¦ K2: Homo, Homo sapiens
09300438_S7 | CLINICAL | 4 | 1 | Not detected | Corynebacterium fournieri | 2 | No | Detected | Corynebacterium fournieri ¦ K2: Desulfovibrio, Homo, Homo sapiens
11400167_S10 | CLINICAL | 3 | 2 | Detected (rescue) | Leptospira | 2 | ✓ YES | Detected | Leptospira, Leptospira interrogans ¦ K2: Homo, Homo sapiens
14600037_S1 | CLINICAL | 9 | 5 | Detected (rescue) | Micrococcus, Pseudomonas | 2 | ✓ YES | Detected | Kocuria palustris, Micrococcus, Micrococcus porci, Pseudomonas, Pseudomonas oryzihabitans ¦ K2: Homo, Homo sapiens, Kocuria palustris, Mobiluncus, Mobiluncus curtisii
15000105_S2 | CLINICAL | 8 | 5 | Detected (rescue) | Agrobacterium, Haemophilus, Rothia, Streptococcus | 2 | ✓ YES | Detected | Agrobacterium, Agrobacterium larrymoorei, Haemophilus, Rothia, Streptococcus ¦ K2: Curtobacterium, Homo, Homo sapiens
15800154_S5 | CLINICAL | 7 | 9 | Detected (rescue) | Acinetobacter, Nocardioides, Rheinheimera, Staphylococcus | 2 | ✓ YES | Detected | Acinetobacter, Nocardioides, Nocardioides sambongensis, Nocardioides sp. L-11A, Nocardioides sp. zg-1228, Rheinheimera, Rheinheimera sp. MM224, Staphylococcus, Staphylococcus capitis ¦ K2: Homo, Homo sapiens
21500105_S3 | CLINICAL | 2 | — | Detected (SOLE signal) | — | 1 | ✓ YES | Detected | — (0 genera after subtract) ¦ K2: Homo, Homo sapiens (host DNA — not clinical)
24200043_S6 | CLINICAL | 2 | — | Not detected | — | 1 | No | Not detected | — (0 genera after subtract) ¦ K2: Homo, Homo sapiens (host DNA — not clinical)
25500116_S4 | CLINICAL | 2 | — | Detected (SOLE signal) | — | 1 | ✓ YES | Detected | — (0 genera after subtract) ¦ K2: Homo, Homo sapiens (host DNA — not clinical)
25700177_S9 | CLINICAL | 8 | 8 | Detected (rescue) | Anaerococcus, Devosia, Staphylococcus | 2 | ✓ YES | Detected | Anaerococcus, Anaerococcus cruorum, Corynebacterium fournieri, Corynebacterium liangguodongii, Devosia, Devosia salina, Staphylococcus, Staphylococcus hominis ¦ K2: Homo, Homo sapiens, Corynebacterium sp. P3-F1
▶ Controls
NTC_S11 | NTC | 0 | — | ⚠ Background | Background reference | — | — | NTC Reference | Rickettsiales in NTC — background signal
PC_S12 | PC_MIX8 | 15 | 8 | Detected | All 8 expected genera | — | — | Detected | K2:+7 FP ¦ CT: 0 FP — exact

## Before Subtract — All Genera
Genera Detected BEFORE NTC Background Subtraction — All 3 Tools
Raw classifier output before removing NTC background genera ¦ Counts include all background contamination shared with NTC
| Kraken2 |  | Centrifuge
Sample | Type | Kraken2 (n genera) | Kraken2 genera detected (before subtract) | Centrifuge genera detected (before subtract)
▶ Clinical Samples (n=10) — Before NTC Subtraction
09000468_S8 | CLINICAL | K2: 53 CT: 107 | Acinetobacter, Burkholderia, Cutibacterium, Homo, Homo sapiens, Klebsiella, Pseudomonas, Staphylococcus, Streptococcus (+ 44 background genera shared with NTC) | Agrobacterium, Agrobacterium tumefaciens, Acinetobacter, Cutibacterium, Klebsiella, Pseudomonas, Staphylococcus, Thermomicrobium (+ 99 background genera shared with NTC)
09300438_S7 | CLINICAL | K2: 36 CT: 92 | Corynebacterium fournieri, Desulfovibrio, Homo, Homo sapiens, Streptococcus (+ 31 background genera shared with NTC) | Corynebacterium fournieri (+ 91 background genera shared with NTC)
11400167_S10 | CLINICAL | K2: 66 CT: 67 | Homo, Homo sapiens, Leptospira, Pseudomonas, Streptococcus (+ 61 background genera shared with NTC) | Leptospira, Leptospira interrogans, Pseudomonas (+ 64 background genera shared with NTC)
14600037_S1 | CLINICAL | K2: 61 CT: 106 | Homo, Homo sapiens, Kocuria, Kocuria palustris, Micrococcus, Micrococcus porci, Mobiluncus, Mobiluncus curtisii, Pseudomonas (+ 52 background genera shared with NTC) | Kocuria palustris, Micrococcus, Micrococcus porci, Pseudomonas, Pseudomonas oryzihabitans (+ 101 background genera shared with NTC)
15000105_S2 | CLINICAL | K2: 91 CT: 163 | Agrobacterium, Agrobacterium larrymoorei, Curtobacterium, Haemophilus, Homo, Homo sapiens, Rothia, Streptococcus (+ 83 background genera shared with NTC) | Agrobacterium, Agrobacterium larrymoorei, Haemophilus, Rothia, Streptococcus (+ 158 background genera shared with NTC)
15800154_S5 | CLINICAL | K2: 52 CT: 93 | Acinetobacter, Homo, Homo sapiens, Nocardioides, Nocardioides sambongensis, Rheinheimera, Staphylococcus (+ 45 background genera shared with NTC) | Acinetobacter, Nocardioides, Nocardioides sambongensis, Nocardioides sp. L-11A, Nocardioides sp. zg-1228, Rheinheimera, Rheinheimera sp. MM224, Staphylococcus, Staphylococcus capitis (+ 84 background genera shared with NTC)
21500105_S3 | CLINICAL | K2: 36 CT: 76 | Homo, Homo sapiens (+ 34 background genera shared with NTC) | No targets above NTC threshold (+ 76 background genera shared with NTC)
24200043_S6 | CLINICAL | K2: 10 CT: 59 | Homo, Homo sapiens (+ 8 background genera shared with NTC) | No targets above NTC threshold (+ 59 background genera shared with NTC)
25500116_S4 | CLINICAL | K2: 44 CT: 59 | Homo, Homo sapiens (+ 42 background genera shared with NTC) | No targets above NTC threshold (+ 59 background genera shared with NTC)
25700177_S9 | CLINICAL | K2: 34 CT: 78 | Anaerococcus, Anaerococcus cruorum, Corynebacterium sp. P3-F1, Devosia, Homo, Homo sapiens, Staphylococcus, Staphylococcus hominis (+ 26 background genera shared with NTC) | Anaerococcus, Anaerococcus cruorum, Corynebacterium fournieri, Corynebacterium liangguodongii, Devosia, Devosia salina, Staphylococcus, Staphylococcus hominis (+ 70 background genera shared with NTC)
▶ Controls — Before NTC Subtraction
NTC_S11 | NTC | K2: 197 CT: 194 | Mycobacterium, Burkholderia, Curtobacterium, Acinetobacter, Streptomyces, Parascardovia, Orlajensenia, Clavibacter, Microbacterium, Naasia (+ 187 other background genera) | Mycobacterium, Curtobacterium, Burkholderia, Acinetobacter, Dietzia, Ruicaihuangia, Clavibacter, Brevundimonas, Brucella, Salinibacterium (+ 184 other background genera)
PC_S12 | PC_MIX8 | K2: 238 CT: 81 | All 8 expected + Bacillus family (Aeribacillus, Effusibacillus, Heyndrickxia, Paenibacillus, Priestia, Tepidibacillus) + Enterobacteriaceae (Citrobacter, Clostridium, Enterobacter, Klebsiella) + 220 background genera | All 8 expected + Citrobacter, Shigella (+ 71 background genera)
Note: Before NTC subtraction, both classifiers detect large numbers of genera shared with the NTC background. These do NOT represent true sample signals. NTC subtraction removes these shared genera, retaining only those above background level.

## After Subtract — All Genera
Genera Detected AFTER NTC Background Subtraction — All 3 Tools
Only genera above NTC background level retained ¦ These are the clinically interpretable results ¦ Shared = confirmed by both K2 and CT
| Kraken2 |  | Centrifuge |  | Minimap2 | Shared
Sample | Type | K2 (n) | Kraken2 genera (after subtract) | Centrifuge genera (after subtract) | Minimap2 result (after subtract) | Shared K2+CT (confirmed genera) | N tools | Routine Call
▶ Clinical Samples (n=10) — After NTC Subtraction
09000468_S8 | CLINICAL | K2:2 CT:2 | Homo, Homo sapiens | Agrobacterium, Agrobacterium tumefaciens | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | — | 2 | Detected
09300438_S7 | CLINICAL | K2:4 CT:1 | Corynebacterium fournieri, Desulfovibrio, Homo, Homo sapiens | Corynebacterium fournieri | — | Corynebacterium fournieri | 2 | Detected
11400167_S10 | CLINICAL | K2:3 CT:2 | Homo, Homo sapiens, Leptospira | Leptospira, Leptospira interrogans | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Leptospira | 2 | Detected
14600037_S1 | CLINICAL | K2:9 CT:5 | Homo, Homo sapiens, Kocuria, Kocuria palustris, Micrococcus, Micrococcus porci, Mobiluncus, Mobiluncus curtisii, Pseudomonas | Kocuria palustris, Micrococcus, Micrococcus porci, Pseudomonas, Pseudomonas oryzihabitans | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Micrococcus, Pseudomonas | 2 | Detected
15000105_S2 | CLINICAL | K2:8 CT:5 | Agrobacterium, Agrobacterium larrymoorei, Curtobacterium, Haemophilus, Homo, Homo sapiens, Rothia, Streptococcus | Agrobacterium, Agrobacterium larrymoorei, Haemophilus, Rothia, Streptococcus | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Agrobacterium, Haemophilus, Rothia, Streptococcus | 2 | Detected
15800154_S5 | CLINICAL | K2:7 CT:9 | Acinetobacter, Homo, Homo sapiens, Nocardioides, Nocardioides sambongensis, Rheinheimera, Staphylococcus | Acinetobacter, Nocardioides, Nocardioides sambongensis, Nocardioides sp. L-11A, Nocardioides sp. zg-1228, Rheinheimera, Rheinheimera sp. MM224, Staphylococcus, Staphylococcus capitis | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Acinetobacter, Nocardioides, Rheinheimera, Staphylococcus | 2 | Detected
21500105_S3 | CLINICAL | K2:2 CT:0 | Homo, Homo sapiens | — (0 genera after subtract) | Rickettsiales (SOLE detection signal; ⚠ NTC also positive — interpret with caution) | — | 1 | Detected
24200043_S6 | CLINICAL | K2:2 CT:0 | Homo, Homo sapiens | — (0 genera after subtract) | — | — | 1 | Not detected
25500116_S4 | CLINICAL | K2:2 CT:0 | Homo, Homo sapiens | — (0 genera after subtract) | Rickettsiales (SOLE detection signal; ⚠ NTC also positive — interpret with caution) | — | 1 | Detected
25700177_S9 | CLINICAL | K2:8 CT:8 | Anaerococcus, Anaerococcus cruorum, Corynebacterium sp. P3-F1, Devosia, Homo, Homo sapiens, Staphylococcus, Staphylococcus hominis | Anaerococcus, Anaerococcus cruorum, Corynebacterium fournieri, Corynebacterium liangguodongii, Devosia, Devosia salina, Staphylococcus, Staphylococcus hominis | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Anaerococcus, Devosia, Staphylococcus | 2 | Detected
▶ Controls — After NTC Subtraction
NTC_S11 | NTC | K2:0 CT:0 | — (NTC is the background reference; all 197 genera subtracted from samples) | — (NTC is the background reference; all 194 genera subtracted from samples) | Rickettsiales detected — establishes background Rickettsiales level for all sample interpretation | Background reference | — | NTC Reference
PC_S12 | PC_MIX8 | K2:15 CT:8 | Bacillus, Citrobacter, Clostridium, Enterobacter, Enterococcus, Escherichia, Heyndrickxia, Klebsiella, Limosilactobacillus, Listeria, Priestia, Pseudomonas, Salmonella, Staphylococcus, Tepidibacillus | Bacillus, Enterococcus, Escherichia, Limosilactobacillus, Listeria, Pseudomonas, Salmonella, Staphylococcus | Rickettsiales (expected — spike present in Zymo standard mix) | Bacillus, Enterococcus, Escherichia, Limosilactobacillus, Listeria, Pseudomonas, Salmonella, Staphylococcus | 2 | Detected
⚠ Important: Rickettsiales was detected in NTC_S11 by Minimap2. All Minimap2 sample calls must be interpreted relative to this NTC background level.
K2 = Kraken2 ¦ CT = Centrifuge ¦ SOLE = Minimap2 is the only detection signal; other tools returned 0 or only Homo sapiens

## Per-Sample Detail
Per-Sample Genera Detail: Before and After NTC Subtraction — All 3 Tools
Complete genus/species listing per sample per tool ¦ Bold genera = confirmed by both Kraken2 and Centrifuge
09000468_S8 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | 53 | 107 | Acinetobacter, Burkholderia, Cutibacterium, Homo, Homo sapiens, Klebsiella, Pseudomonas, Staphylococcus, Streptococcus (+ 44 background genera shared with NTC) | Agrobacterium, Agrobacterium tumefaciens, Acinetobacter, Cutibacterium, Klebsiella, Pseudomonas, Staphylococcus, Thermomicrobium (+ 99 background genera shared with NTC)
AFTER subtract | 2 | 2 | Homo, Homo sapiens | Agrobacterium, Agrobacterium tumefaciens
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | — No shared genera
Notes: Minimap2 rescue applied. CT detects Agrobacterium (possible environmental). K2 retains only Homo (host DNA leakage).
09300438_S7 — Routine Call: Detected |  |  | Minimap2: Not detected
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | 36 | 92 | Corynebacterium fournieri, Desulfovibrio, Homo, Homo sapiens, Streptococcus (+ 31 background genera shared with NTC) | Corynebacterium fournieri (+ 91 background genera shared with NTC)
AFTER subtract | 4 | 1 | Corynebacterium fournieri, Desulfovibrio, Homo, Homo sapiens | Corynebacterium fournieri
Minimap2 (Rickettsiales 16S) |  |  | —
Shared (K2 + CT) |  |  | Corynebacterium fournieri — confirmed by both classifiers
Notes: No Minimap2 rescue. Corynebacterium fournieri confirmed by both K2 and CT. Desulfovibrio and Homo (K2 only) likely noise.
11400167_S10 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | 66 | 67 | Homo, Homo sapiens, Leptospira, Pseudomonas, Streptococcus (+ 61 background genera shared with NTC) | Leptospira, Leptospira interrogans, Pseudomonas (+ 64 background genera shared with NTC)
AFTER subtract | 3 | 2 | Homo, Homo sapiens, Leptospira | Leptospira, Leptospira interrogans
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Leptospira — confirmed by both classifiers
Notes: Leptospira confirmed by both classifiers — high-confidence clinical signal. Homo (K2 only) is host DNA leakage.
14600037_S1 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | 61 | 106 | Homo, Homo sapiens, Kocuria, Kocuria palustris, Micrococcus, Micrococcus porci, Mobiluncus, Mobiluncus curtisii, Pseudomonas (+ 52 background genera shared with NTC) | Kocuria palustris, Micrococcus, Micrococcus porci, Pseudomonas, Pseudomonas oryzihabitans (+ 101 background genera shared with NTC)
AFTER subtract | 9 | 5 | Homo, Homo sapiens, Kocuria, Kocuria palustris, Micrococcus, Micrococcus porci, Mobiluncus, Mobiluncus curtisii, Pseudomonas | Kocuria palustris, Micrococcus, Micrococcus porci, Pseudomonas, Pseudomonas oryzihabitans
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Micrococcus, Pseudomonas — confirmed by both classifiers
Notes: Micrococcus and Pseudomonas confirmed by both classifiers. Mobiluncus (K2 only) may be false positive. Homo (K2 only) is host DNA leakage.
15000105_S2 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | 91 | 163 | Agrobacterium, Agrobacterium larrymoorei, Curtobacterium, Haemophilus, Homo, Homo sapiens, Rothia, Streptococcus (+ 83 background genera shared with NTC) | Agrobacterium, Agrobacterium larrymoorei, Haemophilus, Rothia, Streptococcus (+ 158 background genera shared with NTC)
AFTER subtract | 8 | 5 | Agrobacterium, Agrobacterium larrymoorei, Curtobacterium, Haemophilus, Homo, Homo sapiens, Rothia, Streptococcus | Agrobacterium, Agrobacterium larrymoorei, Haemophilus, Rothia, Streptococcus
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Agrobacterium, Haemophilus, Rothia, Streptococcus — confirmed by both classifiers
Notes: Oral flora signature: Streptococcus, Rothia, Haemophilus confirmed by both. Curtobacterium and Homo (K2 only) likely noise.
15800154_S5 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | 52 | 93 | Acinetobacter, Homo, Homo sapiens, Nocardioides, Nocardioides sambongensis, Rheinheimera, Staphylococcus (+ 45 background genera shared with NTC) | Acinetobacter, Nocardioides, Nocardioides sambongensis, Nocardioides sp. L-11A, Nocardioides sp. zg-1228, Rheinheimera, Rheinheimera sp. MM224, Staphylococcus, Staphylococcus capitis (+ 84 background genera shared with NTC)
AFTER subtract | 7 | 9 | Acinetobacter, Homo, Homo sapiens, Nocardioides, Nocardioides sambongensis, Rheinheimera, Staphylococcus | Acinetobacter, Nocardioides, Nocardioides sambongensis, Nocardioides sp. L-11A, Nocardioides sp. zg-1228, Rheinheimera, Rheinheimera sp. MM224, Staphylococcus, Staphylococcus capitis
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Acinetobacter, Nocardioides, Rheinheimera, Staphylococcus — confirmed by both classifiers
Notes: CT detects more species-level hits. Acinetobacter, Nocardioides, Rheinheimera, Staphylococcus confirmed by both. Homo (K2 only) is host DNA leakage.
⚠ 21500105_S3 — Routine Call: Detected |  |  | Minimap2: Detected (SOLE signal)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | 36 | 76 | Homo, Homo sapiens (+ 34 background genera shared with NTC) | No targets above NTC threshold (+ 76 background genera shared with NTC)
AFTER subtract | 2 | 0 | Homo, Homo sapiens | — (0 genera after subtract)
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (SOLE detection signal; ⚠ NTC also positive — interpret with caution)
Shared (K2 + CT) |  |  | — No shared genera
Notes: ⚠ Minimap2 is the SOLE detection tool. CT=0 genera; K2 retains only Homo. Without Minimap2 this sample would be Not detected.
⚠ 24200043_S6 — Routine Call: Not detected |  |  | Minimap2: Not detected
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | 10 | 59 | Homo, Homo sapiens (+ 8 background genera shared with NTC) | No targets above NTC threshold (+ 59 background genera shared with NTC)
AFTER subtract | 2 | 0 | Homo, Homo sapiens | — (0 genera after subtract)
Minimap2 (Rickettsiales 16S) |  |  | —
Shared (K2 + CT) |  |  | — No shared genera
Notes: No signal from any tool. All 3 tools negative. This sample is below all detection thresholds.
⚠ 25500116_S4 — Routine Call: Detected |  |  | Minimap2: Detected (SOLE signal)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | 44 | 59 | Homo, Homo sapiens (+ 42 background genera shared with NTC) | No targets above NTC threshold (+ 59 background genera shared with NTC)
AFTER subtract | 2 | 0 | Homo, Homo sapiens | — (0 genera after subtract)
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (SOLE detection signal; ⚠ NTC also positive — interpret with caution)
Shared (K2 + CT) |  |  | — No shared genera
Notes: ⚠ Minimap2 is the SOLE detection tool. CT=0 genera; K2 retains only Homo. Without Minimap2 this sample would be Not detected.
25700177_S9 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | 34 | 78 | Anaerococcus, Anaerococcus cruorum, Corynebacterium sp. P3-F1, Devosia, Homo, Homo sapiens, Staphylococcus, Staphylococcus hominis (+ 26 background genera shared with NTC) | Anaerococcus, Anaerococcus cruorum, Corynebacterium fournieri, Corynebacterium liangguodongii, Devosia, Devosia salina, Staphylococcus, Staphylococcus hominis (+ 70 background genera shared with NTC)
AFTER subtract | 8 | 8 | Anaerococcus, Anaerococcus cruorum, Corynebacterium sp. P3-F1, Devosia, Homo, Homo sapiens, Staphylococcus, Staphylococcus hominis | Anaerococcus, Anaerococcus cruorum, Corynebacterium fournieri, Corynebacterium liangguodongii, Devosia, Devosia salina, Staphylococcus, Staphylococcus hominis
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Anaerococcus, Devosia, Staphylococcus — confirmed by both classifiers
Notes: Strong concordance: Anaerococcus, Devosia, Staphylococcus confirmed by both. Homo (K2 only) is host DNA leakage.

## Minimap2 Rickettsiales
Minimap2 Rickettsiales 16S Alignment — 260331_Zymo_Unknown_1
Targeted alignment detects Orientia, Rickettsia and other Rickettsiales that Kraken2/Centrifuge may miss ¦ Rescue = Minimap2 sole or primary signal
Sample | Type | Kraken2 (any signal?) | Centrifuge (any signal?) | Minimap2 (Rickettsiales) | Rescue Applied? | Note
09000468_S8 | CLINICAL | ✓ | — | ✓ Detected | ✓ YES | Minimap2 rescued — Rickettsiales not called by K2/CT
09300438_S7 | CLINICAL | ✓ | ✓ | Not detected | No | K2+CT both detected; Minimap2 not needed
11400167_S10 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Minimap2 rescued — additional Rickettsiales signal
14600037_S1 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Minimap2 rescued — additional Rickettsiales signal
15000105_S2 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Minimap2 rescued — additional Rickettsiales signal
15800154_S5 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Minimap2 rescued — additional Rickettsiales signal
21500105_S3 | CLINICAL | ✓ | — | ✓ Detected | ✓ YES | ⚠ Minimap2 SOLE signal — CT=0, K2 only Homo
24200043_S6 | CLINICAL | ✓ | — | Not detected | No | No Rickettsiales signal in any tool — Not detected
25500116_S4 | CLINICAL | ✓ | — | ✓ Detected | ✓ YES | ⚠ Minimap2 SOLE signal — CT=0, K2 only Homo
25700177_S9 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Minimap2 rescued — additional Rickettsiales signal
NTC_S11 | NTC | — | — | ✓ Detected | N/A | ⚠ Rickettsiales in NTC — background contamination signal
PC_S12 | PC_MIX8 | ✓ | ✓ | ✓ Detected | N/A | Rickettsiales in PC_MIX8 — expected in Zymo standard
KEY: Minimap2 provides RESCUE detection for Rickettsiales organisms at low read depth. 9/10 clinical samples have Rickettsiales signal. 3 samples (21500105_S3, 25500116_S4, 09000468_S8) rely on Minimap2 as their primary detection evidence.
⚠ IMPORTANT: Rickettsiales was detected in NTC_S11 — this is background signal. All Minimap2 positive calls must be interpreted relative to this NTC Rickettsiales background.
SUMMARY: Minimap2 rescued 8/10 clinical samples (provided Rickettsiales evidence beyond K2+CT alone). 1 sample (24200043_S6) was not detected by any tool.

## Summary Statistics
Summary Statistics — 260331_Zymo_Unknown_1: 3-Tool Comparison
Clinical samples n=10 ¦ K2=Kraken2 CT=Centrifuge MM=Minimap2 (Rickettsiales 16S)
Metric | Kraken2 | Centrifuge | Minimap2 (Rickettsiales) | Notes
▶ Before NTC Subtraction (raw counts — clinical, n=10)
Mean genera/sample before subtract | 48.7 | 90 | Binary | CT detects far more raw genera — mostly background
Total genera across all samples (before) | 487 | 900 | N/A | Dominated by NTC background — not interpretable
Max genera, single sample (before) | 91 | 163 | N/A | 15000105_S2 (K2=91, CT=163)
▶ After NTC Subtraction (clinically interpretable — clinical, n=10)
Mean genera/sample after subtract | 4.7 | 3.2 | Binary | Kraken2 higher due to Homo+species expansion
Total targets across all samples (after) | 47 | 32 | N/A
Max targets, single sample (after) | 9 | 9 | N/A | K2: 14600037_S1 (n=9) CT: 15800154_S5 (n=9)
Samples with 0 genera after subtract (CT) | — | 3 | — | 21500105_S3, 24200043_S6, 25500116_S4
▶ Host DNA (Homo sapiens) leakage
Samples with Homo sapiens after subtract | 10/10 | 0/10 | N/A | K2 detects Homo in ALL clinical samples; CT never reports Homo
▶ Minimap2 Rickettsiales rescue
Rickettsiales detected (any signal) | — | — | 9/10 samples | ⚠ NTC also positive — background awareness needed
Samples rescued by Minimap2 | — | — | 8/10 | Rescue = Rickettsiales confirmed by alignment when K2/CT insufficient
Samples where Minimap2 = SOLE detection signal | — | — | 3/10 | 21500105_S3, 25500116_S4, 09000468_S8 — CT=0 or K2=Homo only
▶ PC_MIX8 control (PC_S12) — expected: 8 genera
PC_S12 total genera detected (after subtract) | 15 | 8 | Detected | K2: +7 FP. CT: exact match ✓
PC_S12 false positive genera | +7 FP | 0 FP ✓ | — | K2 FP: Citrobacter, Clostridium, Enterobacter, Heyndrickxia, Klebsiella, Priestia, Tepidibacillus
▶ Routine call summary (clinical, n=10)
Samples with Detected call | — | — | 9/10 | 24200043_S6 = Not detected (no signal from any tool)
▶ Key Findings
1. Minimap2 adds crucial rescue detection — 8/10 clinical samples have Rickettsiales signal. 3 samples would be missed without it.
2. ⚠ Rickettsiales also detected in NTC — all Minimap2 calls must be interpreted relative to NTC background.
3. Centrifuge is cleaner: 0 Homo detections after subtract; 0 FP in PC_MIX8; lower mean genera (3.2 vs 4.7).
4. Kraken2 detects Homo in all 10 clinical samples after subtract — persistent host DNA leakage inflates counts.
5. Combined 3-tool approach maximises detection: 9/10 detected vs fewer with any single tool.
6. 24200043_S6 is the only sample negative in all 3 tools — genuinely below all detection thresholds.
7. Recommendation: Use Centrifuge + Minimap2 rescue as primary pipeline. Kraken2 provides supplementary signal but adds Homo noise.

## PC_MIX8 Control
PC_MIX8 Control (PC_S12) — 260331_Zymo_Unknown_1
Expected 8 genera: Bacillus, Enterococcus, Escherichia, Limosilactobacillus, Listeria, Pseudomonas, Salmonella, Staphylococcus
Genus | Expected? | Kraken2 (after subtract) | Centrifuge (after subtract)
Bacillus | ✓ Expected | Detected ✓ | Detected ✓
Enterococcus | ✓ Expected | Detected ✓ | Detected ✓
Escherichia | ✓ Expected | Detected ✓ | Detected ✓
Limosilactobacillus | ✓ Expected | Detected ✓ | Detected ✓
Listeria | ✓ Expected | Detected ✓ | Detected ✓
Pseudomonas | ✓ Expected | Detected ✓ | Detected ✓
Salmonella | ✓ Expected | Detected ✓ | Detected ✓
Staphylococcus | ✓ Expected | Detected ✓ | Detected ✓
Citrobacter | ✗ Unexpected | FP ✗ | Not detected
Clostridium | ✗ Unexpected | FP ✗ | Not detected
Enterobacter | ✗ Unexpected | FP ✗ | Not detected
Heyndrickxia | ✗ Unexpected | FP ✗ | Not detected
Klebsiella | ✗ Unexpected | FP ✗ | Not detected
Priestia | ✗ Unexpected | FP ✗ | Not detected
Tepidibacillus | ✗ Unexpected | FP ✗ | Not detected
SUMMARY — Kraken2: 15 genera (7 FP, 0 FN) ¦ Centrifuge: 8 genera (0 FP, 0 FN) — PERFECT MATCH ✓

## Legend & Methods
Legend & Methods — 260331_Zymo_Unknown_1 (3-Tool Report — Updated)
RUN INFORMATION
Run ID: 260331_Zymo_Unknown_1 ¦ Run Date: March 31, 2025
Clinical samples: n=10 ¦ Controls: NTC_S11 (negative), PC_S12 (PC_MIX8 — 8-organism Zymo standard)
THREE TOOLS USED
Kraken2 (K2): k-mer based classifier using 16GB database — broad metagenomic classification
Centrifuge (CT): compressed FM-index classifier — broad metagenomic, higher specificity than Kraken2
Minimap2 (MM): targeted alignment to Rickettsiales 16S reference — rescue tool for Orientia, Rickettsia, etc.
SHEETS IN THIS REPORT
Overview (3 Tools): Summary of all samples after NTC subtract — n targets per tool + shared genera + routine call
Before Subtract — All Genera: Complete genera for each sample BEFORE NTC subtraction (raw output)
After Subtract — All Genera: Complete genera for each sample AFTER NTC subtraction (clinical results) — all 3 tools
Per-Sample Detail: Full before/after table per sample including Minimap2 result and shared genera
Minimap2 Rickettsiales: Rescue logic summary — which samples were rescued and why
Summary Statistics: Key metrics comparing all 3 tools + key findings
PC_MIX8 Control: Genus-by-genus expected vs detected for PC_S12
NTC BACKGROUND SUBTRACTION
The NTC (NTC_S11) captures reagent and environmental contamination present in every run.
Any genus detected in the NTC is background. Subtraction removes these from all sample results.
Only genera present ABOVE the NTC background level are retained as potentially real signals.
⚠ Rickettsiales was detected in NTC by Minimap2 — all MM sample calls are NTC-background-aware.
COLOUR CODING
Green = better / correct detection / lower noise
Red = worse / false positive / host DNA leakage / not detected
Amber = caution / background signal / SOLE Minimap2 signal / unexpected
Blue (K2 pale) / Green pale (CT) / Yellow pale (MM) = tool-specific shading
PC_MIX8 EXPECTED GENERA (Zymo 8-organism standard)
Bacillus, Enterococcus, Escherichia, Limosilactobacillus, Listeria, Pseudomonas, Salmonella, Staphylococcus