## Overview (3 Tools)
AFI Run: 260407_Zymo_Unknown_3 — 3-Tool Comparison: Kraken2 vs Centrifuge vs Minimap2 (Rickettsiales 16S)
After NTC background subtraction ¦ ⚠ 2 samples Not detected ¦ 3 samples CT=0 genera ¦ 1 sample Minimap2 SOLE signal
|  | Kraken2 | Centrifuge | Minimap2 (Rickettsiales) | Combined Final
Sample | Type | Kraken2 (n targets) | Centrifuge (n targets) | Minimap2 (Rickettsiales) | Shared genera (K2 + CT) | N tools with signal | Rick Rescued? | Routine Call | Final Signal (genera after subtract)
▶ Clinical Samples (n=10)
09000883_S1 | CLINICAL | 2 | — | Not detected | — | 1 | No | Not detected | — (0 genera after subtract) ¦ K2 only: Homo, Homo sapiens (host DNA — not clinical)
09000920_S2 | CLINICAL | 2 | — | Detected (rescue — SOLE signal) | — | 1 | ✓ YES | Detected | — (0 genera after subtract) ¦ K2 only: Homo, Homo sapiens (host DNA — not clinical)
09001095_S8 | CLINICAL | 4 | 2 | Detected (rescue) | Streptococcus | 2 | ✓ YES | Detected | Streptococcus, Streptococcus agalactiae ¦ K2 only: Homo, Homo sapiens
09101028_S6 | CLINICAL | 8 | 4 | Detected (rescue) | Bacillus, Cutibacterium | 2 | ✓ YES | Detected | Bacillus, Bacillus subtilis, Cutibacterium, Cutibacterium acnes ¦ K2 only: Homo, Homo sapiens, Mariniblastus, Mariniblastus fucicola
09201103_S9 | CLINICAL | 2 | — | Not detected | — | 1 | No | Not detected | — (0 genera after subtract) ¦ K2 only: Homo, Homo sapiens (host DNA — not clinical)
11900320_S7 | CLINICAL | 5 | 4 | Detected (rescue) | Sphingomonas | 2 | ✓ YES | Detected | Pseudobdellovibrio, Pseudobdellovibrio sp. HCB154, Sphingomonas, Sphingomonas leidyi ¦ K2 only: Bdellovibrio, Bdellovibrio sp. HCB337, Homo, Homo sapiens
16400396_S10 | CLINICAL | 18 | 12 | Detected (rescue) | Clostridium, Cutibacterium, Deinococcus, Enterobacter | 2 | ✓ YES | Detected | Clostridium, Clostridium perfringens, Cutibacterium, Cutibacterium acnes, Deinococcus, Deinococcus gobiensis, Enterobacter, Enterobacter asburiae, Enterobacter roggenkampii, Micrococcus, Thermomicrobium, Thermomicrobium roseum ¦ K2 only: Citrobacter, Citrobacter braakii, Escherichia, Escherichia coli, Escherichia fergusonii, Homo, Homo sapiens, Klebsiella, Klebsiella pneumoniae, Salmonella, Salmonella enterica
22300109_S3 | CLINICAL | 16 | 22 | Detected (rescue) | Cutibacterium, Dietzia, Micrococcus, Nocardioides, Pseudomonas, Usitatibacter | 2 | ✓ YES | Detected | Acinetobacter, Bacteroides, Candidatus Mycosynbacter, Candidatus Mycosynbacter amalyticus, Cutibacterium, Cutibacterium acnes, Dietzia, Escherichia, Escherichia coli, Fibrella, Fibrella aestuarina, Helicobacter, Micrococcus, Nocardioides, Pseudomonas, Streptosporangium, Streptosporangium sp. NBC 01756, Thermomicrobium, Thermomicrobium roseum, Usitatibacter, Usitatibacter palustris, Xanthomonas ¦ K2 only: Homo, Homo sapiens, Hymenobacter, Synechococcus, Synechococcus sp. PCC 7502
24200123_S5 | CLINICAL | 7 | 6 | Detected (rescue) | Cutibacterium, Escherichia | 2 | ✓ YES | Detected | Bacillus, Bacillus infantis, Cutibacterium, Cutibacterium acnes, Escherichia, Escherichia coli ¦ K2 only: Homo, Homo sapiens
25200330_S4 | CLINICAL | 9 | 10 | Detected (rescue) | Cutibacterium, Escherichia, Gemmata, Staphylococcus | 2 | ✓ YES | Detected | Cutibacterium, Cutibacterium acnes, Escherichia, Escherichia coli, Gemmata, Gemmata obscuriglobus, Ruegeria, Ruegeria sp. THAF33, Staphylococcus, Staphylococcus hominis ¦ K2 only: Homo, Homo sapiens
▶ Controls
NTC11_S11 | NTC | 0 | — | ⚠ Background | Background reference | — | — | NTC Reference | K2+CT: 0 genera (pass). Rickettsiales detected in NTC by Minimap2
PC13_S12 | PC_MIX8 | 14 | 8 | Detected | All 8 expected genera | — | — | Detected | K2: +6 FP ¦ CT: 0 FP — exact match ✓
⚠ This run: 2 samples Not detected (09000883_S1, 09201103_S9). 3 samples CT=0 genera. 1 sample Minimap2 SOLE signal (09000920_S2). NTC: K2+CT pass (0 genera), Minimap2 positive.

## Before Subtract — All Genera
Genera Detected BEFORE NTC Background Subtraction — All 3 Tools
Genus-level genera from routine_summary ¦ Counts include background contamination shared with NTC
| Kraken2 |  | Centrifuge
Sample | Type | Minimap2 (before subtract) | Kraken2 genera (genus-level, before subtract) | Centrifuge genera (genus-level, before subtract)
▶ Clinical Samples (n=10) — Before NTC Subtraction
09000883_S1 | CLINICAL | Not detected | Homo (+ background genera shared with NTC) | No targets above NTC threshold (0 genera after subtract)
09000920_S2 | CLINICAL | Positive (alignment detected) | Homo (+ background genera shared with NTC) | No targets above NTC threshold (0 genera after subtract)
09001095_S8 | CLINICAL | Positive (alignment detected) | Homo, Streptococcus (+ background genera shared with NTC) | Streptococcus (+ background genera shared with NTC)
09101028_S6 | CLINICAL | Positive (alignment detected) | Bacillus, Cutibacterium, Homo, Mariniblastus (+ background genera shared with NTC) | Bacillus, Cutibacterium (+ background genera shared with NTC)
09201103_S9 | CLINICAL | Not detected | Homo (+ background genera shared with NTC) | No targets above NTC threshold (0 genera after subtract)
11900320_S7 | CLINICAL | Positive (alignment detected) | Bdellovibrio, Homo, Sphingomonas (+ background genera shared with NTC) | Pseudobdellovibrio, Sphingomonas (+ background genera shared with NTC)
16400396_S10 | CLINICAL | Positive (alignment detected) | Citrobacter, Clostridium, Cutibacterium, Deinococcus, Enterobacter, Escherichia, Homo, Klebsiella, Salmonella (+ background genera shared with NTC) | Acinetobacter, Clostridium, Cutibacterium, Deinococcus, Enterobacter, Micrococcus, Thermomicrobium (+ background genera shared with NTC)
22300109_S3 | CLINICAL | Positive (alignment detected) | Candidatus Mycosynbacter, Cutibacterium, Dietzia, Homo, Hymenobacter, Micrococcus, Nocardioides, Pseudomonas, Synechococcus, Usitatibacter (+ background genera shared with NTC) | Acinetobacter, Bacteroides, Candidatus Mycosynbacter, Cutibacterium, Dietzia, Escherichia, Fibrella, Helicobacter, Micrococcus, Nocardioides, Pseudomonas, Streptosporangium, Thermomicrobium, Usitatibacter, Xanthomonas (+ background genera shared with NTC)
24200123_S5 | CLINICAL | Positive (alignment detected) | Cutibacterium, Escherichia, Homo (+ background genera shared with NTC) | Bacillus, Cutibacterium, Escherichia (+ background genera shared with NTC)
25200330_S4 | CLINICAL | Positive (alignment detected) | Cutibacterium, Escherichia, Gemmata, Homo, Staphylococcus (+ background genera shared with NTC) | Cutibacterium, Escherichia, Gemmata, Ruegeria, Staphylococcus (+ background genera shared with NTC)
▶ Controls — Before NTC Subtraction
NTC11_S11 | NTC | Positive (Rickettsiales background signal) | No targets above NTC threshold (NTC is background reference — K2 and CT both pass 0 genera) | No targets above NTC threshold (NTC is background reference)
PC13_S12 | PC_MIX8 | Positive (expected) | Bacillus (10 sp.), Citrobacter, Clostridium, Enterobacter, Enterococcus (3 sp.), Escherichia, Heyndrickxia, Klebsiella, Limosilactobacillus, Listeria (3 sp.), Priestia, Pseudomonas, Salmonella, Staphylococcus (5 sp.) | Bacillus (5 sp.), Enterococcus (1 sp.), Escherichia (1 sp.), Limosilactobacillus (1 sp.), Listeria (2 sp.), Pseudomonas (1 sp.), Salmonella (1 sp.), Staphylococcus (1 sp.)
Grey cells = CT 0 genera after subtract (09000883_S1, 09000920_S2, 09201103_S9). NTC: K2+CT both report 0 genera — clean NTC pass. PC13_S12 before subtract shows K2 greatly over-classifies (41 vs 20 targets).

## After Subtract — All Genera
Genera Detected AFTER NTC Background Subtraction — All 3 Tools (Genus + Species Level)
Only genera above NTC background retained ¦ Clinically interpretable results ¦ Shared = confirmed by both K2 and CT
| Kraken2 |  | Centrifuge |  | Minimap2 | Shared K2+CT
Sample | Type | K2 (n) | Kraken2 genera + species (after subtract) | Centrifuge genera + species (after subtract) | Minimap2 result (after subtract) | Shared K2+CT (confirmed genera) | N tools | Routine Call
▶ Clinical Samples (n=10) — After NTC Subtraction
09000883_S1 | CLINICAL | K2:2 CT:0 | Homo, Homo sapiens | — (0 genera after subtract) | — | — | 1 | Not detected
09000920_S2 | CLINICAL | K2:2 CT:0 | Homo, Homo sapiens | — (0 genera after subtract) | Rickettsiales (confirmed by 16S alignment; SOLE detection signal; ⚠ NTC also positive) | — | 1 | Detected
09001095_S8 | CLINICAL | K2:4 CT:2 | Homo, Homo sapiens, Streptococcus, Streptococcus agalactiae | Streptococcus, Streptococcus agalactiae | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Streptococcus | 2 | Detected
09101028_S6 | CLINICAL | K2:8 CT:4 | Bacillus, Bacillus subtilis, Cutibacterium, Cutibacterium acnes, Homo, Homo sapiens, Mariniblastus, Mariniblastus fucicola | Bacillus, Bacillus subtilis, Cutibacterium, Cutibacterium acnes | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Bacillus, Cutibacterium | 2 | Detected
09201103_S9 | CLINICAL | K2:2 CT:0 | Homo, Homo sapiens | — (0 genera after subtract) | — | — | 1 | Not detected
11900320_S7 | CLINICAL | K2:5 CT:4 | Bdellovibrio, Bdellovibrio sp. HCB337, Homo, Homo sapiens, Sphingomonas | Pseudobdellovibrio, Pseudobdellovibrio sp. HCB154, Sphingomonas, Sphingomonas leidyi | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Sphingomonas | 2 | Detected
16400396_S10 | CLINICAL | K2:18 CT:12 | Citrobacter, Citrobacter braakii, Clostridium, Cutibacterium, Cutibacterium acnes, Deinococcus, Deinococcus gobiensis, Enterobacter, Enterobacter kobei, Escherichia, Escherichia coli, Escherichia fergusonii, Homo, Homo sapiens, Klebsiella, Klebsiella pneumoniae, Salmonella, Salmonella enterica | Clostridium, Clostridium perfringens, Cutibacterium, Cutibacterium acnes, Deinococcus, Deinococcus gobiensis, Enterobacter, Enterobacter asburiae, Enterobacter roggenkampii, Micrococcus, Thermomicrobium, Thermomicrobium roseum | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Clostridium, Cutibacterium, Deinococcus, Enterobacter | 2 | Detected
22300109_S3 | CLINICAL | K2:16 CT:22 | Candidatus Mycosynbacter, Candidatus Mycosynbacter amalyticus, Cutibacterium, Cutibacterium acnes, Dietzia, Homo, Homo sapiens, Hymenobacter, Micrococcus, Nocardioides, Nocardioides sp. zg-1228, Pseudomonas, Synechococcus, Synechococcus sp. PCC 7502, Usitatibacter, Usitatibacter palustris | Acinetobacter, Bacteroides, Candidatus Mycosynbacter, Candidatus Mycosynbacter amalyticus, Cutibacterium, Cutibacterium acnes, Dietzia, Escherichia, Escherichia coli, Fibrella, Fibrella aestuarina, Helicobacter, Micrococcus, Nocardioides, Pseudomonas, Streptosporangium, Streptosporangium sp. NBC 01756, Thermomicrobium, Thermomicrobium roseum, Usitatibacter, Usitatibacter palustris, Xanthomonas | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Cutibacterium, Dietzia, Micrococcus, Nocardioides, Pseudomonas, Usitatibacter | 2 | Detected
24200123_S5 | CLINICAL | K2:7 CT:6 | Bacillus infantis, Cutibacterium, Cutibacterium acnes, Escherichia, Escherichia coli, Homo, Homo sapiens | Bacillus, Bacillus infantis, Cutibacterium, Cutibacterium acnes, Escherichia, Escherichia coli | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Cutibacterium, Escherichia | 2 | Detected
25200330_S4 | CLINICAL | K2:9 CT:10 | Cutibacterium, Cutibacterium acnes, Escherichia, Escherichia coli, Gemmata, Gemmata obscuriglobus, Homo, Homo sapiens, Staphylococcus | Cutibacterium, Cutibacterium acnes, Escherichia, Escherichia coli, Gemmata, Gemmata obscuriglobus, Ruegeria, Ruegeria sp. THAF33, Staphylococcus, Staphylococcus hominis | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Cutibacterium, Escherichia, Gemmata, Staphylococcus | 2 | Detected
▶ Controls — After NTC Subtraction
NTC11_S11 | NTC | K2:0 CT:0 | — (NTC background reference; all genera subtracted from samples) | — (NTC background reference; all genera subtracted from samples) | Rickettsiales detected in NTC — background signal; defines threshold for all Minimap2 sample interpretation | Background reference | — | NTC Reference ✓
PC13_S12 | PC_MIX8 | K2:14 CT:8 | Bacillus, Citrobacter, Clostridium, Enterobacter, Enterococcus, Escherichia, Heyndrickxia, Klebsiella, Limosilactobacillus, Listeria, Priestia, Pseudomonas, Salmonella, Staphylococcus | Bacillus, Enterococcus, Escherichia, Limosilactobacillus, Listeria, Pseudomonas, Salmonella, Staphylococcus | Rickettsiales (expected in Zymo standard mix) | Bacillus, Enterococcus, Escherichia, Limosilactobacillus, Listeria, Pseudomonas, Salmonella, Staphylococcus | 2 | Detected
⚠ Rickettsiales detected in NTC by Minimap2. All MM calls relative to NTC background. Grey CT cells = 0 genera (09000883, 09000920, 09201103). NTC K2+CT: 0 genera (clean pass).

## Per-Sample Detail
Per-Sample Genera Detail: Before and After NTC Subtraction — All 3 Tools
Complete genus+species listing per sample ¦ Bold genera = confirmed by both Kraken2 and Centrifuge
⚠ NOT DETECTED — 09000883_S1 — Routine Call: Not detected |  |  | Minimap2: Not detected
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Homo (+ background genera shared with NTC) | No targets above NTC threshold (0 genera after subtract)
AFTER subtract | 2 | 0 | Homo, Homo sapiens | — (0 genera after subtract)
Minimap2 (Rickettsiales 16S) |  |  | —
Shared (K2 + CT) |  |  | — No shared genera
Notes: Not detected. K2 detects only Homo (host DNA). CT=0 genera. No Minimap2 signal. All 3 tools negative — genuinely below detection threshold.
⚠ SOLE MINIMAP2 — 09000920_S2 — Routine Call: Detected |  |  | Minimap2: Detected (rescue — SOLE signal)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Homo (+ background genera shared with NTC) | No targets above NTC threshold (0 genera after subtract)
AFTER subtract | 2 | 0 | Homo, Homo sapiens | — (0 genera after subtract)
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; SOLE detection signal; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | — No shared genera
Notes: ⚠ Minimap2 is the SOLE detection tool. CT=0 genera; K2 retains only Homo (host DNA). Without Minimap2 rescue this sample would be Not detected.
09001095_S8 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Homo, Streptococcus (+ background genera shared with NTC) | Streptococcus (+ background genera shared with NTC)
AFTER subtract | 4 | 2 | Homo, Homo sapiens, Streptococcus, Streptococcus agalactiae | Streptococcus, Streptococcus agalactiae
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Streptococcus — confirmed by both classifiers
Notes: Streptococcus confirmed by both classifiers (K2+CT both detect Streptococcus agalactiae). K2 retains Homo (host DNA leakage). Minimap2 rescue applied.
09101028_S6 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Bacillus, Cutibacterium, Homo, Mariniblastus (+ background genera shared with NTC) | Bacillus, Cutibacterium (+ background genera shared with NTC)
AFTER subtract | 8 | 4 | Bacillus, Bacillus subtilis, Cutibacterium, Cutibacterium acnes, Homo, Homo sapiens, Mariniblastus, Mariniblastus fucicola | Bacillus, Bacillus subtilis, Cutibacterium, Cutibacterium acnes
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Bacillus, Cutibacterium — confirmed by both classifiers
Notes: Bacillus and Cutibacterium confirmed by both (including species-level). K2 adds Mariniblastus (marine organism — possible FP) and Homo (host DNA). Minimap2 rescue applied.
⚠ NOT DETECTED — 09201103_S9 — Routine Call: Not detected |  |  | Minimap2: Not detected
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Homo (+ background genera shared with NTC) | No targets above NTC threshold (0 genera after subtract)
AFTER subtract | 2 | 0 | Homo, Homo sapiens | — (0 genera after subtract)
Minimap2 (Rickettsiales 16S) |  |  | —
Shared (K2 + CT) |  |  | — No shared genera
Notes: Not detected. K2 detects only Homo (host DNA). CT=0 genera. No Minimap2 signal. All 3 tools negative — genuinely below detection threshold.
11900320_S7 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Bdellovibrio, Homo, Sphingomonas (+ background genera shared with NTC) | Pseudobdellovibrio, Sphingomonas (+ background genera shared with NTC)
AFTER subtract | 5 | 4 | Bdellovibrio, Bdellovibrio sp. HCB337, Homo, Homo sapiens, Sphingomonas | Pseudobdellovibrio, Pseudobdellovibrio sp. HCB154, Sphingomonas, Sphingomonas leidyi
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Sphingomonas — confirmed by both classifiers
Notes: Sphingomonas confirmed by both. Interesting: K2 calls Bdellovibrio; CT calls Pseudobdellovibrio — same bacterium reclassified (Bdellovibrio → Pseudobdellovibrio in updated taxonomy). K2 retains Homo. Minimap2 rescue applied.
16400396_S10 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Citrobacter, Clostridium, Cutibacterium, Deinococcus, Enterobacter, Escherichia, Homo, Klebsiella, Salmonella (+ background genera shared with NTC) | Acinetobacter, Clostridium, Cutibacterium, Deinococcus, Enterobacter, Micrococcus, Thermomicrobium (+ background genera shared with NTC)
AFTER subtract | 18 | 12 | Citrobacter, Citrobacter braakii, Clostridium, Cutibacterium, Cutibacterium acnes, Deinococcus, Deinococcus gobiensis, Enterobacter, Enterobacter kobei, Escherichia, Escherichia coli, Escherichia fergusonii, Homo, Homo sapiens, Klebsiella, Klebsiella pneumoniae, Salmonella, Salmonella enterica | Clostridium, Clostridium perfringens, Cutibacterium, Cutibacterium acnes, Deinococcus, Deinococcus gobiensis, Enterobacter, Enterobacter asburiae, Enterobacter roggenkampii, Micrococcus, Thermomicrobium, Thermomicrobium roseum
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Clostridium, Cutibacterium, Deinococcus, Enterobacter — confirmed by both classifiers
Notes: High bacterial load: 4 shared genera. K2 calls Enterobacteriaceae family (Citrobacter, Escherichia, Klebsiella, Salmonella) not seen in CT. CT uniquely detects Micrococcus and Thermomicrobium. K2 retains Homo. Minimap2 rescue applied.
22300109_S3 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Candidatus Mycosynbacter, Cutibacterium, Dietzia, Homo, Hymenobacter, Micrococcus, Nocardioides, Pseudomonas, Synechococcus, Usitatibacter (+ background genera shared with NTC) | Acinetobacter, Bacteroides, Candidatus Mycosynbacter, Cutibacterium, Dietzia, Escherichia, Fibrella, Helicobacter, Micrococcus, Nocardioides, Pseudomonas, Streptosporangium, Thermomicrobium, Usitatibacter, Xanthomonas (+ background genera shared with NTC)
AFTER subtract | 16 | 22 | Candidatus Mycosynbacter, Candidatus Mycosynbacter amalyticus, Cutibacterium, Cutibacterium acnes, Dietzia, Homo, Homo sapiens, Hymenobacter, Micrococcus, Nocardioides, Nocardioides sp. zg-1228, Pseudomonas, Synechococcus, Synechococcus sp. PCC 7502, Usitatibacter, Usitatibacter palustris | Acinetobacter, Bacteroides, Candidatus Mycosynbacter, Candidatus Mycosynbacter amalyticus, Cutibacterium, Cutibacterium acnes, Dietzia, Escherichia, Escherichia coli, Fibrella, Fibrella aestuarina, Helicobacter, Micrococcus, Nocardioides, Pseudomonas, Streptosporangium, Streptosporangium sp. NBC 01756, Thermomicrobium, Thermomicrobium roseum, Usitatibacter, Usitatibacter palustris, Xanthomonas
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Cutibacterium, Dietzia, Micrococcus, Nocardioides, Pseudomonas, Usitatibacter — confirmed by both classifiers
Notes: CT detects more genera (22 vs 16). 6 shared genera confirmed. CT uniquely detects Bacteroides, Helicobacter, Escherichia — clinically relevant. K2 retains Homo; CT does not. Complex microbiome sample. Minimap2 rescue applied.
24200123_S5 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Cutibacterium, Escherichia, Homo (+ background genera shared with NTC) | Bacillus, Cutibacterium, Escherichia (+ background genera shared with NTC)
AFTER subtract | 7 | 6 | Bacillus infantis, Cutibacterium, Cutibacterium acnes, Escherichia, Escherichia coli, Homo, Homo sapiens | Bacillus, Bacillus infantis, Cutibacterium, Cutibacterium acnes, Escherichia, Escherichia coli
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Cutibacterium, Escherichia — confirmed by both classifiers
Notes: Cutibacterium and Escherichia confirmed by both. Both detect Bacillus infantis (species). CT also reports genus-level Bacillus. K2 retains Homo. Minimap2 rescue applied.
25200330_S4 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Cutibacterium, Escherichia, Gemmata, Homo, Staphylococcus (+ background genera shared with NTC) | Cutibacterium, Escherichia, Gemmata, Ruegeria, Staphylococcus (+ background genera shared with NTC)
AFTER subtract | 9 | 10 | Cutibacterium, Cutibacterium acnes, Escherichia, Escherichia coli, Gemmata, Gemmata obscuriglobus, Homo, Homo sapiens, Staphylococcus | Cutibacterium, Cutibacterium acnes, Escherichia, Escherichia coli, Gemmata, Gemmata obscuriglobus, Ruegeria, Ruegeria sp. THAF33, Staphylococcus, Staphylococcus hominis
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Cutibacterium, Escherichia, Gemmata, Staphylococcus — confirmed by both classifiers
Notes: 4 genera confirmed by both. CT uniquely detects Ruegeria (marine bacterium — worth noting). K2 retains Homo (host DNA). Both detect Staphylococcus (CT adds species: S. hominis). Minimap2 rescue applied.

## Minimap2 Rickettsiales
Minimap2 Rickettsiales 16S Alignment — 260407_Zymo_Unknown_3
8/10 clinical samples rescued ¦ 2 Not detected ¦ 1 sample Minimap2 SOLE signal ¦ NTC: K2+CT=0 (clean), Minimap2=positive
Sample | Type | Kraken2 (any signal?) | Centrifuge (any signal?) | Minimap2 (Rickettsiales) | Rescue Applied? | Note
09000883_S1 | CLINICAL | ✓ | — | Not detected | No | ⚠ Not detected. K2=Homo only. CT=0 genera. No Minimap2 signal. All 3 tools negative.
09000920_S2 | CLINICAL | ✓ | — | ✓ Detected | ✓ YES | ⚠ Minimap2 SOLE signal. CT=0 genera; K2=Homo only. Without Minimap2 = Not detected.
09001095_S8 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Streptococcus confirmed by both. Minimap2 adds Rickettsiales evidence.
09101028_S6 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Bacillus + Cutibacterium confirmed by both. Minimap2 rescue applied.
09201103_S9 | CLINICAL | ✓ | — | Not detected | No | ⚠ Not detected. K2=Homo only. CT=0 genera. No Minimap2 signal. All 3 tools negative.
11900320_S7 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Sphingomonas confirmed. K2/CT taxonomy differs (Bdellovibrio vs Pseudobdellovibrio). Minimap2 rescue applied.
16400396_S10 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | 4 shared genera. K2 over-classifies Enterobacteriaceae. Minimap2 rescue applied.
22300109_S3 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | 6 shared genera — highest in run. CT detects more (22 vs 16). Minimap2 rescue applied.
24200123_S5 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Cutibacterium + Escherichia confirmed. Minimap2 rescue applied.
25200330_S4 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | 4 shared genera. CT adds Ruegeria (unique finding). Minimap2 rescue applied.
NTC11_S11 | NTC | — | — | ✓ Detected | N/A | ⚠ Rickettsiales in NTC. K2+CT=0 (clean NTC pass). Minimap2 defines background threshold.
PC13_S12 | PC_MIX8 | ✓ | ✓ | ✓ Detected | N/A | Rickettsiales in PC_MIX8 — expected in Zymo standard.
KEY: NTC (NTC11_S11): K2+CT both pass 0 genera — CLEAN NTC pass. Minimap2 still positive in NTC — background signal. This confirms NTC subtraction is working correctly for K2+CT.
⚠ 09000920_S2: Minimap2 SOLE signal. ⚠ 09000883_S1 and 09201103_S9: Not detected in all 3 tools — genuinely negative samples.
TAXONOMY NOTE: 11900320_S7 — K2 reports Bdellovibrio; CT reports Pseudobdellovibrio. Bdellovibrio was reclassified to Pseudobdellovibrio in updated taxonomy. Both refer to the same organism.

## Summary Statistics
Summary Statistics — 260407_Zymo_Unknown_3: 3-Tool Comparison
Clinical samples n=10 ¦ K2=Kraken2 CT=Centrifuge MM=Minimap2 (Rickettsiales 16S)
Metric | Kraken2 | Centrifuge | Minimap2 (Rickettsiales) | Notes
▶ After NTC Subtraction — clinical (n=10)
Mean genera/sample after subtract | 7.3 | 6 | Binary
Total targets across all samples | 73 | 60 | N/A
Max targets single sample | 18 | 22 | N/A | K2: 22300109_S3 (n=16) CT: 22300109_S3 (n=22)
Samples with CT=0 genera after subtract | — | 3 | — | 09000883_S1, 09000920_S2, 09201103_S9 — CT cannot detect
▶ Host DNA (Homo sapiens) leakage
Samples with Homo sapiens after subtract | 10/10 | 0/10 | N/A | K2 retains Homo in ALL 10 samples; CT never reports Homo
▶ Minimap2 Rickettsiales
Rickettsiales detected (any signal) | — | — | 8/10 | 09000883 and 09201103 not detected
Samples rescued by Minimap2 | — | — | 8/10 | All detected samples received Minimap2 rescue
Samples where Minimap2 = SOLE signal | — | — | 1/10 | 09000920_S2 — CT=0, K2=Homo only
Samples Not detected (all tools negative) | — | — | 2/10 | 09000883_S1, 09201103_S9
▶ NTC performance
NTC K2 genera after subtract | 0 ✓ | 0 ✓ | Positive (background) | K2+CT: clean NTC pass (0 genera). Minimap2: Rickettsiales detected in NTC — defines background threshold
▶ PC_MIX8 control (PC13_S12) — expected: 8 genera
PC_S12 total genera after subtract | 14 | 8 | Detected | K2: +6 FP. CT: exact match ✓
PC_S12 false positive genera | +6 FP | 0 FP ✓ | — | K2 FP: Citrobacter, Clostridium, Enterobacter, Heyndrickxia, Klebsiella, Priestia
▶ Routine call summary (clinical, n=10)
Samples Detected | — | — | 8/10 | 2 Not detected: 09000883_S1, 09201103_S9
▶ Key Findings
1. 8/10 clinical samples Detected. 2 genuinely negative (09000883_S1, 09201103_S9) — no signal from any tool.
2. NTC CLEAN PASS: K2+CT both report 0 genera in NTC. Minimap2 still positive — this is expected background behaviour.
3. Minimap2 SOLE signal: 09000920_S2 detected only by Minimap2 (CT=0, K2=Homo only). Critical rescue case.
4. CT=0 genera in 3 samples: 09000883_S1, 09000920_S2, 09201103_S9. Centrifuge misses these entirely.
5. TAXONOMY: 11900320_S7 — Bdellovibrio (K2) vs Pseudobdellovibrio (CT). Reflect updated taxonomy — same organism.
6. 22300109_S3: CT detects more genera (22 vs 16). CT uniquely finds Bacteroides, Helicobacter, Escherichia — clinically relevant.
7. Centrifuge cleaner than Kraken2: 0 Homo detections; 0 FP in PC_MIX8; no Mariniblastus/Synechococcus noise.
8. K2 retains Homo in all 10 samples — persistent host DNA leakage despite dehosting.
9. Recommendation: Centrifuge + Minimap2 rescue as primary pipeline. This run reinforces all prior findings.

## PC_MIX8 Control
PC_MIX8 Control (PC13_S12) — 260407_Zymo_Unknown_3
Expected 8 genera: Bacillus, Enterococcus, Escherichia, Limosilactobacillus, Listeria, Pseudomonas, Salmonella, Staphylococcus
Genus | Expected? | Kraken2 (after subtract) | Centrifuge (after subtract)
Bacillus | ✓ Expected | Detected ✓ | Detected ✓
Citrobacter | ✗ Unexpected | FP ✗ | Not detected
Clostridium | ✗ Unexpected | FP ✗ | Not detected
Enterobacter | ✗ Unexpected | FP ✗ | Not detected
Enterococcus | ✓ Expected | Detected ✓ | Detected ✓
Escherichia | ✓ Expected | Detected ✓ | Detected ✓
Heyndrickxia | ✗ Unexpected | FP ✗ | Not detected
Klebsiella | ✗ Unexpected | FP ✗ | Not detected
Limosilactobacillus | ✓ Expected | Detected ✓ | Detected ✓
Listeria | ✓ Expected | Detected ✓ | Detected ✓
Priestia | ✗ Unexpected | FP ✗ | Not detected
Pseudomonas | ✓ Expected | Detected ✓ | Detected ✓
Salmonella | ✓ Expected | Detected ✓ | Detected ✓
Staphylococcus | ✓ Expected | Detected ✓ | Detected ✓
SUMMARY — Kraken2: 14 genera (6 FP, 0 FN) ¦ Centrifuge: 8 genera (0 FP, 0 FN) — PERFECT MATCH ✓

## Legend & Methods
Legend & Methods — 260407_Zymo_Unknown_3 (3-Tool Report)
RUN INFORMATION
Run ID: 260407_Zymo_Unknown_3 ¦ Run Date: April 7, 2025
Clinical samples: n=10 ¦ Controls: NTC11_S11 (negative), PC13_S12 (PC_MIX8 — Zymo 8-organism standard)
KEY DIFFERENCES vs PRIOR RUNS
2 samples Not detected (09000883_S1, 09201103_S9) — all 3 tools negative. Genuinely below detection thresholds.
3 samples CT=0 genera (09000883, 09000920, 09201103) — Centrifuge finds nothing above NTC threshold.
1 sample Minimap2 SOLE signal (09000920_S2) — only Minimap2 detects signal; CT=0, K2=Homo only.
NTC (NTC11_S11): K2+CT both report 0 genera — CLEAN NTC pass (different from run 260331 where NTC was also positive for K2/CT).
Taxonomy note: Bdellovibrio (K2) = Pseudobdellovibrio (CT) — reclassified in updated taxonomy databases.
THREE TOOLS USED
Kraken2 (K2): k-mer based classifier using 16GB database
Centrifuge (CT): compressed FM-index classifier — higher specificity than Kraken2
Minimap2 (MM): targeted alignment to Rickettsiales 16S reference — rescue tool
COLOUR CODING
Green = better / correct detection / lower noise
Red = worse / false positive / host DNA leakage / Not detected
Amber = caution / SOLE Minimap2 signal / background signal
Grey cells = CT 0 genera / Minimap2 not detected
PC_MIX8 EXPECTED GENERA
Bacillus, Enterococcus, Escherichia, Limosilactobacillus, Listeria, Pseudomonas, Salmonella, Staphylococcus