## Overview (3 Tools)
AFI Run: 260428_Zymo_Unknown_6 — 3-Tool Comparison: Kraken2 vs Centrifuge vs Minimap2 (Rickettsiales 16S)
★ FIRST COMPLETE NTC CLEAN PASS (K2+CT+MM all 0/negative in NTC) ¦ ⚠ 23500462_S4 Not detected despite 5 shared genera ¦ 2 Minimap2 SOLE signals
|  | Kraken2 | Centrifuge | Minimap2 (Rickettsiales) | Combined Final
Sample | Type | Kraken2 (n targets) | Centrifuge (n targets) | Minimap2 (Rickettsiales) | Shared genera (K2 + CT) | N tools with signal | Rick Rescued? | Routine Call | Final Signal (genera after subtract)
▶ Clinical Samples (n=10)
09401753_S11 | CLINICAL | 7 | 6 | Detected (rescue) | Cutibacterium, Flavobacterium, Methylorubrum | 2 | ✓ YES | Detected | Cutibacterium, Cutibacterium modestum, Flavobacterium, Flavobacterium ammoniigenes, Methylorubrum, Methylorubrum populi ¦ K2 only: Homo, Homo sapiens
09601752_S10 | CLINICAL | 4 | 3 | Detected (rescue) | Brevundimonas | 2 | ✓ YES | Detected | Brevundimonas, Brevundimonas olei, Streptomyces ¦ K2 only: Homo, Homo sapiens
09801652_S5 | CLINICAL | 11 | 11 | Detected (rescue) | Acinetobacter, Brevundimonas, Comamonas, Finegoldia, Leptospira | 2 | ✓ YES | Detected | Acinetobacter, Acinetobacter baumannii, Acinetobacter pittii, Brevundimonas, Brevundimonas olei, Comamonas, Comamonas thiooxydans, Finegoldia, Finegoldia magna, Leptospira, Leptospira interrogans ¦ K2 only: Homo, Homo sapiens, Pantoea, Pantoea piersonii
09901736_S8 | CLINICAL | 2 | — | Detected (rescue — SOLE signal) | — | 1 | ✓ YES | Detected | — (0 genera after subtract) ¦ K2 only: Homo, Homo sapiens (host DNA — not clinical)
13900362_S6 | CLINICAL | 6 | 4 | Detected (rescue) | Brevundimonas, Comamonas | 2 | ✓ YES | Detected | Brevundimonas, Brevundimonas olei, Comamonas, Comamonas aquatica ¦ K2 only: Homo, Homo sapiens
14300374_S3 | CLINICAL | 4 | 2 | Detected (rescue) | Brevundimonas | 2 | ✓ YES | Detected | Brevundimonas, Brevundimonas olei ¦ K2 only: Homo, Homo sapiens
15000695_S9 | CLINICAL | 4 | 6 | Detected (rescue) | Acinetobacter, Comamonas | 2 | ✓ YES | Detected | Acinetobacter, Comamonas, Comamonas kerstersii, Phocaeicola, Phocaeicola dorei, Streptomyces ¦ K2 only: Homo, Homo sapiens
21500967_S7 | CLINICAL | 2 | — | Detected (rescue — SOLE signal) | — | 1 | ✓ YES | Detected | — (0 genera after subtract) ¦ K2 only: Homo, Homo sapiens (host DNA — not clinical)
23200519_S12 | CLINICAL | 10 | 10 | Detected (rescue) | Brevundimonas, Burkholderia, Cutibacterium, Streptococcus | 2 | ✓ YES | Detected | Brevundimonas, Brevundimonas olei, Burkholderia, Cutibacterium, Cutibacterium acnes, Microvirgula, Microvirgula aerodenitrificans, Staphylococcus hominis, Streptococcus, Streptococcus oralis ¦ K2 only: Homo, Homo sapiens, Vitreoscilla
23500462_S4 | CLINICAL | 12 | 12 | Not detected | Chryseobacterium, Cutibacterium, Nocardiopsis, Rothia, Thermomonas | 2 | No | Not detected | Chryseobacterium, Chryseobacterium indologenes, Cutibacterium, Cutibacterium acnes, Escherichia, Escherichia coli, Nocardiopsis, Nocardiopsis gilva, Rothia, Rothia mucilaginosa, Thermomonas, Thermomonas sp. HDW16 ¦ K2 only: Homo, Homo sapiens
▶ Controls
NTC12_S1 | NTC | 0 | — | ★ ALL CLEAN | ALL TOOLS CLEAN | — | — | NTC Reference ✓ | ★ FIRST COMPLETE NTC CLEAN: K2=0, CT=0, Minimap2=Not detected — all 3 tools clean
PC14_S2 | PC_MIX8 | 16 | 11 | Detected | All 8 expected + Salicibibacter+Shouchella | — | — | Detected | K2: +8 FP ¦ CT: +3 FP ¦ ⚠ New genera: Salicibibacter, Shouchella (new Zymo standard genera)
★ KEY MILESTONE: NTC12_S1 is the FIRST NTC with ALL 3 TOOLS CLEAN (K2=0, CT=0, Minimap2=Not detected). This is the most robust NTC performance observed across all runs.

## Before Subtract — All Genera
Genera Detected BEFORE NTC Background Subtraction — All 3 Tools
Genus-level genera from routine_summary ¦ NTC: ALL 3 TOOLS CLEAN (0 genera, Minimap2 negative) — first complete clean NTC across all runs
| Kraken2 |  | Centrifuge
Sample | Type | Minimap2 (before subtract) | Kraken2 genera (genus-level, before subtract) | Centrifuge genera (genus-level, before subtract)
▶ Clinical Samples (n=10) — Before NTC Subtraction
09401753_S11 | CLINICAL | Positive (alignment detected) | Cutibacterium, Flavobacterium, Homo, Methylorubrum (+ background genera shared with NTC) | Cutibacterium, Flavobacterium, Methylorubrum (+ background genera shared with NTC)
09601752_S10 | CLINICAL | Positive (alignment detected) | Brevundimonas, Homo (+ background genera shared with NTC) | Brevundimonas, Streptomyces (+ background genera shared with NTC)
09801652_S5 | CLINICAL | Positive (alignment detected) | Acinetobacter, Brevundimonas, Comamonas, Finegoldia, Homo, Leptospira, Pantoea (+ background genera shared with NTC) | Acinetobacter, Brevundimonas, Comamonas, Finegoldia, Leptospira (+ background genera shared with NTC)
09901736_S8 | CLINICAL | Positive (alignment detected) | Homo (+ background genera shared with NTC) | No targets above NTC threshold (CT=0 genera after subtract)
13900362_S6 | CLINICAL | Positive (alignment detected) | Brevundimonas, Comamonas, Homo (+ background genera shared with NTC) | Brevundimonas, Comamonas (+ background genera shared with NTC)
14300374_S3 | CLINICAL | Positive (alignment detected) | Brevundimonas, Homo (+ background genera shared with NTC) | Brevundimonas (+ background genera shared with NTC)
15000695_S9 | CLINICAL | Positive (alignment detected) | Acinetobacter, Comamonas, Homo (+ background genera shared with NTC) | Acinetobacter, Comamonas, Phocaeicola, Streptomyces (+ background genera shared with NTC)
21500967_S7 | CLINICAL | Positive (alignment detected) | Homo (+ background genera shared with NTC) | No targets above NTC threshold (CT=0 genera after subtract)
23200519_S12 | CLINICAL | Positive (alignment detected) | Brevundimonas, Burkholderia, Cutibacterium, Homo, Streptococcus, Vitreoscilla (+ background genera shared with NTC) | Brevundimonas, Burkholderia, Cutibacterium, Microvirgula, Streptococcus (+ background genera shared with NTC)
23500462_S4 | CLINICAL | Not detected | Chryseobacterium, Cutibacterium, Homo, Nocardiopsis, Rothia, Thermomonas (+ background genera shared with NTC) | Chryseobacterium, Cutibacterium, Escherichia, Klebsiella, Nocardiopsis, Rothia, Thermomonas (+ background genera shared with NTC)
▶ Controls — Before NTC Subtraction
NTC12_S1 | NTC | Not detected (Minimap2: 0 signal) | No targets above NTC threshold (K2: 0 genera) | No targets above NTC threshold (CT: 0 genera)
PC14_S2 | PC_MIX8 | Positive (Rickettsiales) | Bacillus (16 sp.), Citrobacter (3 sp.), Clostridium, Enterobacter (4 sp.), Enterococcus (5 sp.), Escherichia, Heyndrickxia, Klebsiella, Limosilactobacillus, Listeria, Paenibacillus, Priestia, Pseudomonas, Salicibibacter, Salmonella, Shouchella, Staphylococcus (6 sp.), Tepidibacillus | Acetobacterium, Bacillus (13 sp.), Citrobacter, Enterococcus (1 sp.), Escherichia (2 sp.), Limosilactobacillus (1 sp.), Listeria (1 sp.), Paenibacillus, Pseudomonas (1 sp.), Salicibibacter, Salmonella (3 sp.), Shouchella, Staphylococcus (1 sp.), Virgibacillus
★ NTC: ALL 3 TOOLS CLEAN for first time across all runs. PC_MIX8: New genera Salicibibacter and Shouchella appear — these are valid Zymo standard organisms in the updated standard.

## After Subtract — All Genera
Genera Detected AFTER NTC Background Subtraction — All 3 Tools (Genus + Species Level)
RED = Not detected ¦ AMBER = Minimap2 SOLE ¦ NTC: K2=0, CT=0, MM=negative (FIRST COMPLETE CLEAN NTC)
| Kraken2 |  | Centrifuge |  | Minimap2 | Shared K2+CT
Sample | Type | K2 (n) | Kraken2 genera + species (after subtract) | Centrifuge genera + species (after subtract) | Minimap2 result (after subtract) | Shared K2+CT (confirmed genera) | N tools | Routine Call
▶ Clinical Samples (n=10) — After NTC Subtraction
09401753_S11 | CLINICAL | K2:7 CT:6 | Cutibacterium, Cutibacterium modestum, Flavobacterium, Homo, Homo sapiens, Methylorubrum, Methylorubrum populi | Cutibacterium, Cutibacterium modestum, Flavobacterium, Flavobacterium ammoniigenes, Methylorubrum, Methylorubrum populi | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive — interpret with caution) | Cutibacterium, Flavobacterium, Methylorubrum | 2 | Detected
09601752_S10 | CLINICAL | K2:4 CT:3 | Brevundimonas, Brevundimonas albigilva, Homo, Homo sapiens | Brevundimonas, Brevundimonas olei, Streptomyces | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Brevundimonas | 2 | Detected
09801652_S5 | CLINICAL | K2:11 CT:11 | Acinetobacter, Brevundimonas, Brevundimonas albigilva, Comamonas, Finegoldia, Finegoldia magna, Homo, Homo sapiens, Leptospira, Pantoea, Pantoea piersonii | Acinetobacter, Acinetobacter baumannii, Acinetobacter pittii, Brevundimonas, Brevundimonas olei, Comamonas, Comamonas thiooxydans, Finegoldia, Finegoldia magna, Leptospira, Leptospira interrogans | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Acinetobacter, Brevundimonas, Comamonas, Finegoldia, Leptospira | 2 | Detected
09901736_S8 | CLINICAL | K2:2 CT:0 | Homo, Homo sapiens | — (0 genera after subtract) | Rickettsiales (SOLE detection signal; ⚠ NTC also positive — interpret with caution) | — | 1 | Detected
13900362_S6 | CLINICAL | K2:6 CT:4 | Brevundimonas, Brevundimonas albigilva, Comamonas, Comamonas aquatica, Homo, Homo sapiens | Brevundimonas, Brevundimonas olei, Comamonas, Comamonas aquatica | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Brevundimonas, Comamonas | 2 | Detected
14300374_S3 | CLINICAL | K2:4 CT:2 | Brevundimonas, Brevundimonas albigilva, Homo, Homo sapiens | Brevundimonas, Brevundimonas olei | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Brevundimonas | 2 | Detected
15000695_S9 | CLINICAL | K2:4 CT:6 | Acinetobacter, Comamonas, Homo, Homo sapiens | Acinetobacter, Comamonas, Comamonas kerstersii, Phocaeicola, Phocaeicola dorei, Streptomyces | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Acinetobacter, Comamonas | 2 | Detected
21500967_S7 | CLINICAL | K2:2 CT:0 | Homo, Homo sapiens | — (0 genera after subtract) | Rickettsiales (SOLE detection signal; ⚠ NTC also positive — interpret with caution) | — | 1 | Detected
23200519_S12 | CLINICAL | K2:10 CT:10 | Brevundimonas, Brevundimonas albigilva, Burkholderia, Cutibacterium, Cutibacterium acnes, Homo, Homo sapiens, Staphylococcus hominis, Streptococcus, Vitreoscilla | Brevundimonas, Brevundimonas olei, Burkholderia, Cutibacterium, Cutibacterium acnes, Microvirgula, Microvirgula aerodenitrificans, Staphylococcus hominis, Streptococcus, Streptococcus oralis | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive) | Brevundimonas, Burkholderia, Cutibacterium, Streptococcus | 2 | Detected
23500462_S4 | CLINICAL | K2:12 CT:12 | Chryseobacterium, Chryseobacterium sp. MYb264, Cutibacterium, Cutibacterium acnes, Homo, Homo sapiens, Nocardiopsis, Nocardiopsis alba, Rothia, Rothia mucilaginosa, Thermomonas, Thermomonas sp. HDW16 | Chryseobacterium, Chryseobacterium indologenes, Cutibacterium, Cutibacterium acnes, Escherichia, Escherichia coli, Nocardiopsis, Nocardiopsis gilva, Rothia, Rothia mucilaginosa, Thermomonas, Thermomonas sp. HDW16 | — | Chryseobacterium, Cutibacterium, Nocardiopsis, Rothia, Thermomonas | 2 | Not detected
▶ Controls — After NTC Subtraction
NTC12_S1 | NTC | K2:0 CT:0 | — (NTC background reference; K2=0 genera = clean pass) | — (NTC background reference; CT=0 genera = clean pass) | — (Minimap2 not detected in NTC — all 3 tools clean) | ★ All 3 tools clean | — | NTC Reference ✓★
PC14_S2 | PC_MIX8 | K2:16 CT:11 | Bacillus, Citrobacter, Clostridium, Enterobacter, Enterococcus, Escherichia, Heyndrickxia, Klebsiella, Limosilactobacillus, Priestia, Pseudomonas, Salicibibacter, Salmonella, Shouchella, Staphylococcus, Tepidibacillus | Acetobacterium, Bacillus, Citrobacter, Enterococcus, Escherichia, Limosilactobacillus, Paenibacillus, Pseudomonas, Salicibibacter, Salmonella, Shouchella | Rickettsiales (expected in Zymo standard mix) | Bacillus, Citrobacter, Enterococcus, Escherichia, Limosilactobacillus, Pseudomonas, Salicibibacter, Salmonella, Shouchella, Staphylococcus | 2 | Detected
⚠ PC_MIX8 note: Salicibibacter and Shouchella are new genera in the updated Zymo standard. Expected 10 genera (not 8) in this run. CT also detects Acetobacterium and Paenibacillus (FP). K2: +6 FP vs expected 10.

## Per-Sample Detail
Per-Sample Genera Detail: Before and After NTC Subtraction — All 3 Tools
Complete genus+species listing per sample ¦ Bold genera = confirmed by both Kraken2 and Centrifuge
09401753_S11 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Cutibacterium, Flavobacterium, Homo, Methylorubrum (+ background genera shared with NTC) | Cutibacterium, Flavobacterium, Methylorubrum (+ background genera shared with NTC)
AFTER subtract | 7 | 6 | Cutibacterium, Cutibacterium modestum, Flavobacterium, Homo, Homo sapiens, Methylorubrum, Methylorubrum populi | Cutibacterium, Cutibacterium modestum, Flavobacterium, Flavobacterium ammoniigenes, Methylorubrum, Methylorubrum populi
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive — interpret with caution)
Shared (K2 + CT) |  |  | Cutibacterium, Flavobacterium, Methylorubrum — confirmed by both classifiers
Notes: 3 genera confirmed by both. CT adds Flavobacterium ammoniigenes (species). K2 retains Homo. Minimap2 rescue applied.
09601752_S10 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Brevundimonas, Homo (+ background genera shared with NTC) | Brevundimonas, Streptomyces (+ background genera shared with NTC)
AFTER subtract | 4 | 3 | Brevundimonas, Brevundimonas albigilva, Homo, Homo sapiens | Brevundimonas, Brevundimonas olei, Streptomyces
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Brevundimonas — confirmed by both classifiers
Notes: Brevundimonas confirmed (K2=albigilva, CT=olei — consistent species split pattern). CT detects Streptomyces (environmental). K2 retains Homo. Minimap2 rescue applied.
09801652_S5 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Acinetobacter, Brevundimonas, Comamonas, Finegoldia, Homo, Leptospira, Pantoea (+ background genera shared with NTC) | Acinetobacter, Brevundimonas, Comamonas, Finegoldia, Leptospira (+ background genera shared with NTC)
AFTER subtract | 11 | 11 | Acinetobacter, Brevundimonas, Brevundimonas albigilva, Comamonas, Finegoldia, Finegoldia magna, Homo, Homo sapiens, Leptospira, Pantoea, Pantoea piersonii | Acinetobacter, Acinetobacter baumannii, Acinetobacter pittii, Brevundimonas, Brevundimonas olei, Comamonas, Comamonas thiooxydans, Finegoldia, Finegoldia magna, Leptospira, Leptospira interrogans
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Acinetobacter, Brevundimonas, Comamonas, Finegoldia, Leptospira — confirmed by both classifiers
Notes: 5 shared genera — strong concordance. CT detects Acinetobacter baumannii and A. pittii (clinically significant species). Leptospira confirmed (CT adds L. interrogans). K2 adds Pantoea piersonii (plant pathogen — likely environmental). K2 retains Homo. Minimap2 rescue applied.
⚠ SOLE MINIMAP2 — 09901736_S8 — Routine Call: Detected |  |  | Minimap2: Detected (rescue — SOLE signal)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Homo (+ background genera shared with NTC) | No targets above NTC threshold (CT=0 genera after subtract)
AFTER subtract | 2 | 0 | Homo, Homo sapiens | — (0 genera after subtract)
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (SOLE detection signal; ⚠ NTC also positive — interpret with caution)
Shared (K2 + CT) |  |  | — No shared genera
Notes: ⚠ Minimap2 SOLE signal. CT=0 genera; K2=Homo only. Without Minimap2 rescue this sample would be Not detected.
13900362_S6 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Brevundimonas, Comamonas, Homo (+ background genera shared with NTC) | Brevundimonas, Comamonas (+ background genera shared with NTC)
AFTER subtract | 6 | 4 | Brevundimonas, Brevundimonas albigilva, Comamonas, Comamonas aquatica, Homo, Homo sapiens | Brevundimonas, Brevundimonas olei, Comamonas, Comamonas aquatica
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Brevundimonas, Comamonas — confirmed by both classifiers
Notes: Brevundimonas and Comamonas aquatica confirmed by both. K2 retains Homo. Minimap2 rescue applied.
14300374_S3 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Brevundimonas, Homo (+ background genera shared with NTC) | Brevundimonas (+ background genera shared with NTC)
AFTER subtract | 4 | 2 | Brevundimonas, Brevundimonas albigilva, Homo, Homo sapiens | Brevundimonas, Brevundimonas olei
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Brevundimonas — confirmed by both classifiers
Notes: Brevundimonas confirmed (K2=albigilva, CT=olei). Minimal signal. K2 retains Homo. Minimap2 rescue applied.
15000695_S9 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Acinetobacter, Comamonas, Homo (+ background genera shared with NTC) | Acinetobacter, Comamonas, Phocaeicola, Streptomyces (+ background genera shared with NTC)
AFTER subtract | 4 | 6 | Acinetobacter, Comamonas, Homo, Homo sapiens | Acinetobacter, Comamonas, Comamonas kerstersii, Phocaeicola, Phocaeicola dorei, Streptomyces
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Acinetobacter, Comamonas — confirmed by both classifiers
Notes: Acinetobacter and Comamonas confirmed. CT detects Phocaeicola dorei (gut anaerobe) and Streptomyces (environmental). K2 retains Homo. Minimap2 rescue applied.
⚠ SOLE MINIMAP2 — 21500967_S7 — Routine Call: Detected |  |  | Minimap2: Detected (rescue — SOLE signal)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Homo (+ background genera shared with NTC) | No targets above NTC threshold (CT=0 genera after subtract)
AFTER subtract | 2 | 0 | Homo, Homo sapiens | — (0 genera after subtract)
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (SOLE detection signal; ⚠ NTC also positive — interpret with caution)
Shared (K2 + CT) |  |  | — No shared genera
Notes: ⚠ Minimap2 SOLE signal. CT=0 genera; K2=Homo only. Without Minimap2 rescue this sample would be Not detected.
23200519_S12 — Routine Call: Detected |  |  | Minimap2: Detected (rescue)
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Brevundimonas, Burkholderia, Cutibacterium, Homo, Streptococcus, Vitreoscilla (+ background genera shared with NTC) | Brevundimonas, Burkholderia, Cutibacterium, Microvirgula, Streptococcus (+ background genera shared with NTC)
AFTER subtract | 10 | 10 | Brevundimonas, Brevundimonas albigilva, Burkholderia, Cutibacterium, Cutibacterium acnes, Homo, Homo sapiens, Staphylococcus hominis, Streptococcus, Vitreoscilla | Brevundimonas, Brevundimonas olei, Burkholderia, Cutibacterium, Cutibacterium acnes, Microvirgula, Microvirgula aerodenitrificans, Staphylococcus hominis, Streptococcus, Streptococcus oralis
Minimap2 (Rickettsiales 16S) |  |  | Rickettsiales (confirmed by 16S alignment; ⚠ NTC also positive)
Shared (K2 + CT) |  |  | Brevundimonas, Burkholderia, Cutibacterium, Streptococcus — confirmed by both classifiers
Notes: 4 shared genera confirmed. Both detect Staphylococcus hominis (species-level agreement without genus-level in shared). CT detects Microvirgula aerodenitrificans (denitrifying bacteria). K2 adds Vitreoscilla (filamentous). Minimap2 rescue applied.
⚠ NOT DETECTED — 23500462_S4 — Routine Call: Not detected |  |  | Minimap2: Not detected
Stage | K2 (n) | CT (n) | Kraken2 genera | Centrifuge genera
BEFORE subtract | — | — | Chryseobacterium, Cutibacterium, Homo, Nocardiopsis, Rothia, Thermomonas (+ background genera shared with NTC) | Chryseobacterium, Cutibacterium, Escherichia, Klebsiella, Nocardiopsis, Rothia, Thermomonas (+ background genera shared with NTC)
AFTER subtract | 12 | 12 | Chryseobacterium, Chryseobacterium sp. MYb264, Cutibacterium, Cutibacterium acnes, Homo, Homo sapiens, Nocardiopsis, Nocardiopsis alba, Rothia, Rothia mucilaginosa, Thermomonas, Thermomonas sp. HDW16 | Chryseobacterium, Chryseobacterium indologenes, Cutibacterium, Cutibacterium acnes, Escherichia, Escherichia coli, Nocardiopsis, Nocardiopsis gilva, Rothia, Rothia mucilaginosa, Thermomonas, Thermomonas sp. HDW16
Minimap2 (Rickettsiales 16S) |  |  | —
Shared (K2 + CT) |  |  | Chryseobacterium, Cutibacterium, Nocardiopsis, Rothia, Thermomonas — confirmed by both classifiers
Notes: ⚠ Not detected (routine call) despite 5 shared genera and K2=12, CT=12. No Minimap2 signal. K2 and CT both detect Chryseobacterium, Cutibacterium, Nocardiopsis, Rothia, Thermomonas — but detection criteria not met for routine Detected call. CT uniquely detects Escherichia coli. K2 retains Homo.

## Minimap2 Rickettsiales
Minimap2 Rickettsiales 16S Alignment — 260428_Zymo_Unknown_6
★ NTC ALL CLEAN (first time) ¦ 9/10 Detected ¦ 2 SOLE signals ¦ 23500462_S4 Not detected (no Minimap2 despite 5 shared genera)
Sample | Type | Kraken2 (any signal?) | Centrifuge (any signal?) | Minimap2 (Rickettsiales) | Rescue Applied? | Note
09401753_S11 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | 3 shared genera (Cutibacterium, Flavobacterium, Methylorubrum). Minimap2 rescue applied.
09601752_S10 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Brevundimonas confirmed. CT adds Streptomyces. Minimap2 rescue applied.
09801652_S5 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | 5 shared genera. CT detects A. baumannii + A. pittii (clinically significant). Minimap2 rescue applied.
09901736_S8 | CLINICAL | ✓ | — | ✓ Detected | ✓ YES | ⚠ SOLE signal. CT=0. K2=Homo only. Without Minimap2 = Not detected.
13900362_S6 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Brevundimonas + Comamonas aquatica confirmed. Minimap2 rescue applied.
14300374_S3 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Brevundimonas confirmed. Minimal signal. Minimap2 rescue applied.
15000695_S9 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | Acinetobacter + Comamonas confirmed. CT adds Phocaeicola dorei. Minimap2 rescue applied.
21500967_S7 | CLINICAL | ✓ | — | ✓ Detected | ✓ YES | ⚠ SOLE signal. CT=0. K2=Homo only. Without Minimap2 = Not detected.
23200519_S12 | CLINICAL | ✓ | ✓ | ✓ Detected | ✓ YES | 4 shared genera. CT detects Microvirgula aerodenitrificans. Minimap2 rescue applied.
23500462_S4 | CLINICAL | ✓ | ✓ | Not detected | No | ⚠ Not detected. Despite K2=12 and CT=12 genera and 5 shared genera — no Minimap2 signal. Detection criteria not met.
NTC12_S1 | NTC | — | — | ★ Not detected | N/A | ★ MILESTONE: ALL 3 TOOLS CLEAN. K2=0, CT=0, Minimap2=Not detected. First complete clean NTC across all runs.
PC14_S2 | PC_MIX8 | ✓ | ✓ | ✓ Detected | N/A | Rickettsiales in PC_MIX8. ⚠ New genera: Salicibibacter and Shouchella in Zymo standard.
★ KEY MILESTONE: NTC12_S1 is the FIRST NTC across all 6 runs where ALL 3 TOOLS report clean (K2=0, CT=0, Minimap2=Not detected). This represents optimal pipeline performance.
⚠ 23500462_S4: Not detected despite K2=12, CT=12 genera and 5 shared genera. No Minimap2 signal. The detection criteria for 'Detected' routine call were not met — this sample requires clinical review.
⚠ PC_MIX8 NOTE: Salicibibacter and Shouchella are new genera appearing in the Zymo standard. Expected genera have expanded from 8 to 10 in this updated version. Update comparison criteria accordingly.

## Summary Statistics
Summary Statistics — 260428_Zymo_Unknown_6: 3-Tool Comparison
★ First complete NTC clean pass ¦ Clinical n=10 ¦ K2=Kraken2 CT=Centrifuge MM=Minimap2 (Rickettsiales 16S)
Metric | Kraken2 | Centrifuge | Minimap2 (Rickettsiales) | Notes
▶ After NTC Subtraction — clinical (n=10)
Mean genera/sample after subtract | 6.2 | 5.4 | Binary
Median genera/sample after subtract | 5 | 5 | Binary
Max genera single sample | 12 | 12 | N/A | 23500462_S4 (K2=12, CT=12)
Samples with CT=0 genera after subtract | — | 2 | — | 09901736_S8, 21500967_S7 — Minimap2 SOLE signal in both
▶ Host DNA (Homo sapiens) leakage
Samples with Homo sapiens after subtract | 10/10 | 0/10 | N/A | K2 retains Homo in ALL 10 samples; CT never reports Homo
▶ Minimap2 Rickettsiales
Rickettsiales detected (any) | — | — | 9/10 | 23500462_S4: not detected (Minimap2 also negative)
Samples rescued by Minimap2 | — | — | 9/10 | All 9 Detected samples received Minimap2 evidence
Minimap2 SOLE signal | — | — | 2/10 | 09901736_S8, 21500967_S7 — CT=0, K2=Homo only
Routine Detected | — | — | 9/10 | 23500462_S4 = Not detected despite K2+CT signal
▶ ★ NTC performance — FIRST COMPLETE CLEAN
NTC K2+CT+Minimap2 — all tools result | 0 ★ | 0 ★ | Not detected ★ | FIRST TIME all 3 tools clean in NTC across all 6 runs. Prior runs: Minimap2 always positive in NTC.
▶ PC_MIX8 control (PC14_S2) — ⚠ Updated Zymo standard (10 genera incl. Salicibibacter + Shouchella)
PC_S12 total genera after subtract | 16 genera | 11 genera | Detected | K2: +6 FP vs expected 10. CT: +1 FP (Paenibacillus) vs expected 10. Acetobacterium in CT (new standard?)
Expected genera in this run's Zymo standard | — | — | — | Bacillus, Enterococcus, Escherichia, Limosilactobacillus, Listeria, Pseudomonas, Salmonella, Staphylococcus + Salicibibacter + Shouchella (10 total — updated standard)
▶ Key Findings
1. ★ MILESTONE: NTC12_S1 — FIRST COMPLETE NTC CLEAN PASS: K2=0, CT=0, Minimap2=Not detected. All 3 tools confirm clean NTC for the first time across all 6 runs.
2. 9/10 clinical samples Detected. 23500462_S4 = Not detected despite K2=12, CT=12 genera and 5 shared genera — no Minimap2 signal.
3. 2 Minimap2 SOLE signals: 09901736_S8 and 21500967_S7 (CT=0, K2=Homo only). Without Minimap2 these would be Not detected.
4. ⚠ PC_MIX8 UPDATED STANDARD: Salicibibacter and Shouchella are new genera in the Zymo standard for this run. Expected genera = 10 (not 8). Update comparison baseline accordingly.
5. CT detects Acinetobacter baumannii and A. pittii in 09801652_S5 — clinically significant pathogen species (species-level advantage of CT over K2).
6. Brevundimonas albigilva (K2) vs Brevundimonas olei (CT) pattern — consistent species-level taxonomy difference observed in multiple runs and samples.
7. Leptospira confirmed in 09801652_S5 by both classifiers (CT adds Leptospira interrogans at species level) — clinically significant.
8. K2 retains Homo in ALL 10 samples. CT = 0 Homo across all 10. Persistent host DNA pattern unchanged.
9. K2 PC FP count: 6 (vs 5-7 in prior runs). CT PC FP: 1-3 (improving). CT remains substantially more specific.
10. Recommendation: Centrifuge + Minimap2 rescue remains the optimal pipeline. The first complete NTC clean pass validates ongoing improvement in run quality.

## PC_MIX8 Control
PC_MIX8 Control (PC14_S2) — 260428_Zymo_Unknown_6
⚠ UPDATED Zymo standard — 10 expected genera (includes Salicibibacter + Shouchella). Previous runs: 8 expected genera.
Genus | Expected? | Kraken2 (after subtract) | Centrifuge (after subtract)
Acetobacterium | ✗ FP (CT) | Not detected | FP ✗
Bacillus | ✓ Expected | Detected ✓ | Detected ✓
Citrobacter | ⚠ Citrobacter | Not detected | Not detected
Clostridium | ✗ FP (K2) | FP ✗ | Not detected
Enterobacter | ✗ FP (K2) | FP ✗ | Not detected
Enterococcus | ✓ Expected | Detected ✓ | Detected ✓
Escherichia | ✓ Expected | Detected ✓ | Detected ✓
Heyndrickxia | ✗ FP (K2) | FP ✗ | Not detected
Klebsiella | ✗ FP (K2) | FP ✗ | Not detected
Limosilactobacillus | ✓ Expected | Detected ✓ | Detected ✓
Listeria | ✓ Expected | Detected ✓ | Detected ✓
Paenibacillus | ✗ FP (CT) | Not detected | FP ✗
Priestia | ✗ FP (K2) | FP ✗ | Not detected
Pseudomonas | ✓ Expected | Detected ✓ | Detected ✓
Salicibibacter | ✓ Expected | Detected ✓ | Detected ✓
Salmonella | ✓ Expected | Detected ✓ | Detected ✓
Shouchella | ✓ Expected | Detected ✓ | Detected ✓
Staphylococcus | ✓ Expected | Detected ✓ | Detected ✓
Tepidibacillus | ✗ FP (K2) | FP ✗ | Not detected
SUMMARY — Kraken2: 16 genera (+6 FP vs expected 10) ¦ Centrifuge: 11 genera (+1 FP Paenibacillus vs expected 10) ¦ ⚠ Salicibibacter + Shouchella = new Zymo standard genera

## Legend & Methods
Legend & Methods — 260428_Zymo_Unknown_6 (3-Tool Report)
RUN INFORMATION
Run ID: 260428_Zymo_Unknown_6 ¦ Run Date: April 28, 2025
Clinical samples: n=10 ¦ Controls: NTC12_S1 (negative), PC14_S2 (PC_MIX8 — Zymo standard, UPDATED to 10 genera)
★ KEY MILESTONE: FIRST COMPLETE NTC CLEAN PASS
NTC12_S1: K2=0 genera, CT=0 genera, Minimap2=Not detected — ALL 3 TOOLS CLEAN for the first time across all 6 runs.
Prior runs (260331–260412): Minimap2 was always positive in NTC. This run marks a significant improvement.
PC_MIX8 UPDATED STANDARD — IMPORTANT
This run's Zymo standard now includes Salicibibacter and Shouchella — 2 new genera not seen in prior runs.
Expected genera (from run 260428): Bacillus, Enterococcus, Escherichia, Limosilactobacillus, Listeria, Pseudomonas, Salicibibacter, Salmonella, Shouchella, Staphylococcus (10 total, previously 8).
Update all PC_MIX8 comparison baselines to include Salicibibacter and Shouchella going forward.
THREE TOOLS USED
Kraken2 (K2): k-mer based classifier using 16GB database
Centrifuge (CT): compressed FM-index classifier — higher specificity than Kraken2
Minimap2 (MM): targeted alignment to Rickettsiales 16S reference — rescue tool
COLOUR CODING
Green = better / correct detection / lower noise / milestone
Red = worse / Not detected / false positive / host DNA leakage
Amber = SOLE Minimap2 signal / Not detected but has signal / unusual finding
Grey = CT 0 genera